# Apalachicola (APA) NERR Water Quality Metadata

**January- December 2015**

**Latest Update: September 20, 2016**

**I. Data Set & Research Descriptors**

**1. Principal Investigator(s) & contact persons:**

Rebecca Bernard, Research Coordinator

E-mail: Rebecca.Bernard@dep.state.fl.us; (850) 670-7721

Ethan Bourque, Water Quality Technician; Data Management

E-mail: Ethan.Bourque@dep.state.fl.us; (850) 670-7722

Apalachicola NERR

108 Island Drive

Eastpoint, FL 32328

**2. Entry verification:**

Deployment data are uploaded from the YSI data logger to a Personal Computer (IBM compatible). Files are exported from EcoWatch in a comma-delimited format (.CDF), EcoWatch Lite in a comma separated file (CSV) or KOR Software in an Excel File (.XLS) and uploaded to the CDMO where they undergo automated primary QAQC; automated depth/level corrections for changes in barometric pressure (cDepth or cLevel parameters); and become part of the CDMO’s online provisional database. All pre- and post-deployment data are removed from the file prior to upload. During primary QAQC, data are flagged if they are missing or out of sensor range. The edited file is then returned to the Reserve for secondary QAQC where it is opened in Microsoft Excel and processed using the CDMO’s NERRQAQC Excel macro. The macro inserts station codes, creates metadata worksheets for flagged data and summary statistics, and graphs the data for review. It allows the user to apply QAQC flags and codes to the data, remove any overlapping deployment data, append files, and export the resulting data file for upload to the CDMO. Upload after secondary QAQC results in ingestion into the database as provisional plus data, recalculation of cDepth or cLevel parameters, and finally tertiary QAQC by the CDMO and assimilation into the CDMO’s authoritative online database. Where deployment overlap occurs between files, the data produced by the newly calibrated sonde is generally accepted as being the most accurate. For more information on QAQC flags and codes, see Sections 11 and 12.

**3. Research objectives:**

The objective of this research is to monitor water quality across a salinity gradient in Apalachicola Bay and provide high-frequency data (15 minute interval) on specific water quality parameters that are measured following the same procedures across all NERRS as part of the System Wide Monitoring Program (SWMP). Apalachicola NERR has 4 stations at 3 locations across the Bay where this water quality monitoring occurs: East Bay (Top and Bottom), Cat Point and Dry Bar. The East Bay station collects water quality data associated with runoff from the Tate's Hell Swamp area. This area was ditched, diked, and altered back in the late 1960’s and early 1970’s by timber companies. It shortened the drainage period and allowed increased runoff with a concomitant increase in pH, which had a drastic affect on the biological communities in East Bay. Because of this some plugs were put in to slow drainage, but little restoration work was done. The Northwest Florida Water Management District purchased a large section, approximately 36,000 acres, in 1994. An EPA grant allowed them to begin restoration of the site in 1995 to reduce non-point source runoff. Positioning the dataloggers at the surface and bottom in East Bay allows the Reserve to monitor changes in water quality during this restoration effort. Cat Point and Dry Bar stations collect water quality data associated with the health of oysters. These stations are located on two of the most productive oyster beds in the bay. They were chosen as monitoring sites so that the health and ecological functions of these economically important oyster bars could be monitored continuously. Data from all sites are used to relate conditions in the bay to the amount of freshwater flow from the Apalachicola River.

**4. Research methods:**

The YSI monitoring program was started in April 1995 in association with the NERRS System Wide Monitoring Program (SWMP) effort. ANERR began monitoring three stations in the Apalachicola Bay system beginning in May 1992, using Hydrolab Datasonde 3’s. These stations continue to be monitored today using modern equipment. The East Bay station consists of two sites, including, a sonde placed near the surface at this site and one located near the bottom sediment. Cat Point and Dry Bar are the other two stations located near two of the most productive oyster beds in Apalachicola Bay. Both Hydrolab and YSI dataloggers have been used at all stations interchangeably as required, however, only YSI 6600 EDS models were used to collect data from 2004 to present day. YSI 6600 V2 models were used to collect data at Dry Bar from 2010 to present day, and East Bay Bottom from 2015 to present day. YSI EXO II’s were used to collect data at only one site, Cat Point, from 2015 to present day. Prior to deployment, YSI 6600 EDSs, V2s, and EXO II’s are calibrated for conductivity, dissolved oxygen, depth, turbidity and pH following the procedures outlined in the YSI Operating and Service Manual (with addendum 5/99) and the NERR SWMP YSI 6-Series Multi-Parameter Water Quality Monitoring Procedure SOP Version 4.5. Lab grade standards are used to calibrate the YSIs.

The calibration of pH is performed with two pH standards (pH 7 and pH 10) for two-point calibration. Beginning in July 2007, an optical dissolved oxygen sensor Model 6150 was also used at the East Bay Surface site only, so that both models 6150 and 6562 sensors were used at the East Bay Surface site during 2008. The membranes for the dissolved oxygen probe (model 6562) are installed at least 12 hours prior to calibration. Beginning January 31, 2006, depth has been set based on the barometric pressure the day of calibration. Prior to this, a default atmospheric pressure of 760 mmHg was used to calibrate the depth to 0 meters for pre- and post- calibration. Local pressure is measured using a Kestrel 4000 pocket weather tracker unit and the depth offset from zero meters is determined using the tables provided in the Water Quality SOP. A turbidity probe was added to the YSI 6000’s in December 1996. The model 6026 turbidity probe has been offered by YSI since 1995, but as of 2003 was no longer in use at ANERR. The Reserve began using the turbidity probe model 6136 in March 2002. These probes are given a two-point calibration to 0 NTU using deionized water, and to 126 NTU using YSI turbidity standard. Following calibration, a guard is attached to the datalogger to protect the probes. A piece of plastic mesh is placed in the bottom of the guard and another one is attached to the outside of the guard to discourage any creatures from getting to the probes and to minimize fouling. The sondes are then programmed to begin recording data at 03:59:00 AM the morning of deployment. Data was collected by sondes at 30 minute intervals through 2006, when by CDMO directive the sondes began collecting data at 15-minute intervals (See section 15 for exact date and times). They are wrapped in damp white towels and placed in a 5-gallon bucket with water to sit overnight. The D.O. probe is re-calibrated before deployment and the sonde is checked to ensure that the instrument is working properly.

In 2001, the task of wrapping the sonde in a wet, white towel during transportation for deployment and retrieval became a part of the standardized procedure for YSI 6-series multi-parameter sondes. In 2015, this method was still used as an effective method of transporting. The sondes are also carried to the field using a large vented cooler and cushioned with styrofoam. During deployment and retrieval of the sondes, measurements of dissolved oxygen concentrations and percent saturation, salinity, temperature, and pH are taken at the sites using a hand-held YSI 85 or YSI ProDSS instrument.

YSI 6600 EDS, V2, or EXO II dataloggers are deployed on the same piling within a five-inch diameter stainless-steel or PVC tube with a locking cap. Large holes are cut in the tube where the probes are located to insure adequate water circulation. Every two to four weeks the dataloggers are retrieved, downloaded, cleaned, and inspected. Freshly calibrated units are deployed at the same time, resulting in little or no data gaps in collection intervals.

A Sutron Sat-Link2 transmitter was installed at the East Bay bottom station on 08/14/06 at 13:15 and transmits data to the NOAA GOES satellite, NESDIS ID #3B02D4E6. The transmissions are scheduled hourly and contain four (4) data sets reflecting fifteen minute data sampling intervals. Upon receipt by the CDMO, the data undergoes the same automated primary QAQC process detailed in Section 2 above. The “real-time” telemetry data become part of the provisional dataset until undergoing secondary and tertiary QAQC and assimilation in the CDMO’s authoritative online database. Provisional and authoritative data are available at [http://cdmo.baruch.sc.edu](http://cdmo.baruch.sc.edu/).

Remote Access Satellite Sensor Link (RASSL) telemetry units were installed at the Cat Point and Dry Bar sites, on 03/16/06 at 11:20 and on 05/09/06 at 12:05, respectively. The transmissions were scheduled hourly and contained one (1) dataset reflecting hourly data sampling intervals. The telemetry data is “Provisional” data and not the “Authentic” dataset used for long term monitoring and study. This data was uploaded to a privately accessible website, <https://www.sensorlink.biz>. Please contact the research coordinator for further information about these telemetry units. Due to lack of funding, these telemetry units stopped operating on January 14, 2008 and the Sensorlink website is no longer available.

**5. Site location and character:**

The Apalachicola National Estuarine Research Reserve is located in the northwestern part of Florida, generally called the panhandle. It is located adjacent to the City of Apalachicola, and encompasses most of the Apalachicola Bay system, including 52 miles of the lower Apalachicola River. Passes, both natural and manmade, connect Apalachicola Bay to the northeastern Gulf of Mexico.

East Bay is separated from Apalachicola Bay by two bridges and a causeway and is located to the north of the bay proper. East Bay is 8.2 km long, has an average depth of approximately 1.0 m MHW, and an average width of 1.8 km. The tides in East Bay are mixed and range from 0.3 m to 1.0 m (average 0.5 m). The sampling site is located in the upper reaches of East Bay. The original piling location was located at latitude 29°47.15’ N and longitude 84°52.52’ W. A new water quality monitoring tower was constructed directly adjacent to the original piling in June 2013. The East Bay Bottom and Surface data sondes were relocated to this new station on February 7, 2014. The tower location is at latitude 29°47.14’ N and longitude 84°52.52’ W. At the sampling site, the depth is 2.2 m MHW and the width of the bay is 1 km. The tides in the system are mixed; meaning the number of tides can range from one to five tides during a 24-hour period and are not evenly distributed throughout the day.

At the East Bay (EB) bottom site the depth probes are 0.3 m above the bottom sediment. Salinity ranges from 0 to 30 ppt and the long-term average salinity is approximately 8 ppt. At the East Bay surface (ES) site the depth probes are 1.7 m above the bottom sediment and salinity ranges from 0 to 30 ppt with a long term average salinity of 6.3 ppt. The freshwater input is very tannic and usually dark colored. Flows vary with local rainfall and are not quantified due to the diverse sources of the runoff. The bottom habitat at this bay site is soft sediment, primarily silt and clay, with no vegetation present. The dominant marsh vegetation near the sampling site is *Juncus roemerianus* and *Cladium jamaicense*. The dominant upland vegetation is primarily pineland forest, which includes slash pine (*Pinus elliottii*), saw palmetto (*Serenoa repens*), and sand pine (*Pinus clausa*). Upland land use near the sampling site includes conservation and silviculture uses with some single family residential in the lower East Bay area. The sampling site is influenced by local runoff from Tate's Hell Swamp, the East Bay marshes, and distributary flow, some of which comes from the Apalachicola River via the East River. Tate's Hell Swamp was ditched, diked, and altered back in the late 1960’s and early 1970’s by timber companies. These changes shortened the drainage period and allowed increased runoff with a concomitant decrease in pH and increase in color, which had a drastic affect on the biological communities in East Bay. Restoration of Tate's Hell Swamp began in 1995 to reduce non-point source runoff.

The Cat Point (CP) sampling site is located in St. George Sound, approximately 400 meters east of the St. George Island Bridge Causeway. The piling location is latitude 29°42.12′ N and longitude 84°52.81′ W. The tides at Cat Point are mixed and range from 0.3m to 1.0m (average 0.5m). At the sampling site, the depth is 2 to 3 m MHW and the width of the bay is 6.44 km. The site was moved approximately 600 meters south in October 1997. At the Cat Point site the depth probes are 0.3 meters above the bottom sediment. Salinity ranges from 0 to 32 ppt. Flows vary with local rainfall and are not quantified due to the diverse sources of the runoff. The bottom type is oyster bar with no vegetation present except algae growing on the oysters in the summer. The dominant upland vegetation is primarily pineland forest, which includes slash pine (*Pinus elliottii*), saw palmetto (*Serenoa repens*), and sand pine (*Pinus clausa*). Upland land use near the sampling site includes single-family residential and commercial use in the Eastpoint area. The sampling site is influenced by local runoff from Tate's Hell Swamp and flow from the Apalachicola River, which has the highest flow rate in Florida. High salinity water comes mainly from the east, through East Pass at the end of St. George Island.

The Dry Bar (DB) sampling site is located near St. Vincent Sound, in the western part of the Apalachicola Bay system, approximately one-half mile east of St. Vincent Island. The piling location is latitude 29°40.48′ N and longitude 85°03.50′ W. At the sampling site, the depth is 2 meters and the width of the bay is 11.27 km. At the Dry Bar site the depth probes are located 0.3 meters above the bottom sediment. The tides are mixed and range from 0.3 to 1.0 meters. Salinity ranges from 0 to 34 ppt. The bottom type is oyster bar with no vegetation present, except algae that grow on the oysters during the summer months. The dominant upland vegetation includes slash pine flatwoods with various combinations of gallberry (*Ilex coriacea*), smooth cordgrass (*Spartina alterniflora*), fetterbush (*Lyonia lucida*), cabbage palm (*Sabal palmetto*), saw palmetto (*Serenoa repens*), magnolia (*Magnolia virginiana*), and grasses. Upland use near the sampling site includes state owned and managed Cape St. George Island and St. Vincent National Wildlife Refuge, as well as single family residential and commercial use in the Apalachicola area. The sampling site is influenced from the flow of the Apalachicola River, which is monitored daily, and high salinity water entering West Pass and Sikes Cut via tidal action.

6. Data collection period:

The dataloggers were first deployed at the East Bay Surface site on April 17, 1995. East Bay bottom sampling began on May 1, 1995. Both have been continuously in service since then. Data from the two oyster bar stations, Cat Point and Dry Bar, has been collected since 1992. During the 2015, DR, EB, and ES used 6600 EDS and V2 loggers; 6600 EDS, V2 and EXO loggers were used at CP all deployments utilized YSI 6600 EDS and V2 dataloggers. Deployment dates and times for the year of 2015 follows. See section 14 for details on sonde failures.

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Cat Point** |  |  |  |  |
| **Began** |  | **Ended** |  |  |
| 12/11/2014 | 11:00 | 1/6/2015 | 13:30 | 6600 EDS |
| 1/6/2015 | 14:15 | 1/21/2015 | 10:30 | 6600 EDS |
| 1/21/2015 | 10:45 | 2/4/2015 | 9:00 | 6600 EDS |
| 2/4/2015 | 9:45 | 2/24/2015 | 10:00 | 6600 EDS |
| 2/24/2015 | 10:15 | 3/17/2015 | 9:45 | 6600 EDS |
| 3/17/2015 | 10:30 | 4/6/2015 | 9:30 | 6600 EDS |
| 4/6/2015 | \* | 4/21/2015 | \* | Unable to connect to sonde |
| 4/21/2015 | 10:15 | 5/12/2015 | 8:30 | 6600 EDS |
| 5/12/2015 | 8:45 | 6/11/2015 | 11:00 | 6600 V2 |
| 6/11/2015 | 11:45 | 6/30/2015 | 8:30 | 6600 EDS |
| 6/30/2015 | 8:45 | 7/21/2015 | 9:00 | 6600 V2 |
| 7/21/2015 | 9:30 | 8/4/2015 | 9:15 | 6600 EDS |
| 8/4/2015 | 9:30 | 8/18/2015 | 8:45 | 6600 V2 |
| 8/18/2015 | 9:00 | 9/9/2015 | 9:00 | 6600 EDS |
| 9/9/2015 | 9:15 | 10/6/2015 | 8:45 | 6600 V2 |
| 10/6/2015 | 9:00 | 11/3/2015 | 9:45 | 6600 EDS |
| 11/3/2015 | 10:00 | 12/15/2015 | 9:30 | 6600 V2 |
| 12/15/2015 | 11:00 | 1/13/2016 | 8:45 | EXO II run in GMT |
|  |  |  |  |  |
| **Dry Bar** |  |  |  |  |
| **Began** |  | **Ended** |  |  |
| 12/11/2015 | 10:30 | 1/6/2015 | 9:15 | 6600 EDS |
| 1/6/2015 | 9:30 | 1/21/2015 | 9:00 | 6600 V2 |
| 1/21/2015 | \* | 2/3/2015 | \* |  |
| 2/3/2015 | 10:45 | 2/26/2015 | 13:30 | 6600 V2 |
| 2/26/2015 | 13:45 | 3/17/2015 | 8:30 | 6600 V2 |
| 3/17/2015 | 10:00 | 4/6/2015 | 12:00 | 6600 V2 |
| 4/6/2015 | 12:15 | 4/21/2015 | 7:45 | 6600 V2 |
| 4/21/2015 | 9:30 | 5/12/2015 | 9:45 | 6600 V2 |
| 5/12/2015 | 10:00 | 6/9/2015 | 7:45 | 6600 V2 |
| 6/9/2015 | 9:15 | 7/1/2015 | 8:15 | 6600 V2 |
| 7/1/2015 | 8:30 | 7/21/2015 | 7:45 | 6600 V2 |
| 7/21/2015 | 8:00 | 8/4/2015 | 11:45 | 6600 V2 |
| 8/4/2015 | 12:15 | 8/18/2015 | 7:30 | 6600 V2 |
| 8/18/2015 | 8:00 | 9/9/2015 | 7:45 | 6600 V2 |
| 9/9/2015 | 8:00 | 10/6/2015 | 11:00 | 6600 V2 |
| 10/6/2015 | 11:30 | 11/3/2015 | 11:45 | 6600 V2 |
| 11/3/2015 | 12:15 | 12/15/2015 | 10:45 | 6600 V2 |
| 12/15/2015 | 11:00 | 1/13/2016 |  | Couldn't connect to sonde to retrieve data |
|  |  |  |  |  |
| **East Bottom** | |  |  |  |
| **Began** |  | **Ended** |  | All 6600 V2 and 6600 V2 EDS |
| 12/11/2014 | 10:30 | 1/6/2015 | 14:00 |  |
| 1/6/2015 | 15:00 | 1/21/2015 | 11:15 |  |
| 1/21/2015 | 11:30 | 2/4/2015 | 8:30 |  |
| 2/4/2015 | 9:15 | 2/24/2015 | 10:45 |  |
| 2/24/2015 | 11:00 | 3/17/2015 | 10:30 |  |
| 3/17/2015 | 11:30 | 4/6/2015 | 8:15 |  |
| 4/6/2015 | 8:30 | 4/21/2015 | 10:30 |  |
| 4/21/2015 | 11:15 | 5/12/2015 | 8:00 |  |
| 5/12/2015 | 8:15 | 6/10/2015 | 12:15 |  |
| 6/10/2015 | 13:00 | 6/30/2015 | 7:45 |  |
| 6/30/2015 | 8:00 | 7/21/2015 | 9:45 |  |
| 7/21/2015 | 10:15 | 8/4/2015 | 8:00 |  |
| 8/4/2015 | 8:30 | 8/18/2015 | 9:45 |  |
| 8/18/2015 | 10:00 | 9/9/2015 | 9:30 |  |
| 9/9/2015 | 9:45 | 10/6/2015 | 8:00 |  |
| 10/6/2015 | 8:15 | 11/3/2015 | 8:45 |  |
| 11/3/2015 | 9:15 | 12/15/2015 | 9:00 |  |
| 12/15/2015 | 9:2930 | 1/14/2016 | 10:00 |  |
|  |  |  |  |  |
| **East Surface** | |  |  |  |
| **Began** |  | **Ended** |  | All 6600 and 6600 EDS |
| 12/11/2014 | 10:45 | 1/6/2015 | 14:00 |  |
| 1/6/2015 | 14:15 | 1/21/2015 | 10:45 |  |
| 1/21/2015 | 11:30 | 2/4/2015 | 8:15 |  |
| 2/4/2015 | 8:30 | 2/24/2015 | 10:15 |  |
| 2/24/2015 | 11:00 | 3/17/2015 | 10:30 |  |
| 3/17/2015 | 10:45 | 4/6/2015 | 7:45 |  |
| 4/6/2015 | 8:30 | 4/21/2015 | 10:30 |  |
| 4/21/2015 | 10:45 | 5/12/2015 | 7:45 |  |
| 5/12/2015 | 8:15 | 6/10/2015 | 12:15 |  |
| 6/10/2015 | 12:30 | 6/30/2015 | 7:30 |  |
| 6/30/2015 | 8:00 | 7/21/2015 | 9:4445 |  |
| 7/21/2015 | 10:15 | 8/4/2015 | 8:00 |  |
| 8/4/2015 | 8:30 | 8/18/2015 | 9:45 |  |
| 8/18/2015 | 10:00 | 9/9/2015 | 9:30 |  |
| 9/9/2015 | 9:45 | 10/6/2015 | 7:45 |  |
| 10/6/2015 | 8:15 | 11/3/2015 | 8:45 |  |
| 11/3/2015 | 9:15 | 12/15/2015 | 9:00 |  |
| 12/15/2015 | 9:15 | 1/4/2016 | 21:30 | Power failure |

**7. Distribution**

According to the Ocean and Coastal Resource Management Data Dissemination Policy for the NERRS System-Wide Monitoring Program, NOAA/ERD retains the right to analyze, synthesize and publish summaries of the NERRS System-Wide Monitoring Program data. The PI retains the right to be fully credited for having collected and processed the data. Following academic courtesy standards, the PI and NERR site where the data were collected will be contacted and fully acknowledged in any subsequent publications in which any part of the data are used. Manuscripts resulting from this NOAA/OCRM supported research that are produced for publication in open literature, including refereed scientific journals, will acknowledge that the research was conducted under an award from the Estuarine Reserves Division, Office of Ocean and Coastal Resource Management, National Ocean Service, National Oceanic and Atmospheric Administration. The data set enclosed within this package/transmission is only as good as the quality assurance and quality control procedures outlined by the enclosed metadata reporting statement. The user bears all responsibility for its subsequent use/misuse in any further analyses or comparisons. The Federal government does not assume liability to the Recipient or third persons, nor will the Federal government reimburse or indemnify the Recipient for its liability due to any losses resulting in any way from the use of this data.

NERR water quality data and metadata can be obtained from the Research Coordinator at the individual NERR site (please see section 1. Principal investigators and contact persons), from the Data Manager at the Centralized Data Management Office (please see personnel directory under general information link on CDMO homepage) and online at the CDMO homepage <http://cdmo.baruch.sc.edu/>. Data are available in text tab-delimited format.

8. Associated researchers and projects:

As part of SWMP and in addition to this Water Quality monitoring dataset, APA NERR also monitors Meteorological and Nutrient data. These data are also available from the Research Coordinator or online at http://cdmo.baruch.sc.edu/.

APA NERR has been monitoring water quality at three stations in Apalachicola Bay since May of 1992, with the use of Hydrolab Datasondes and YSI 6000-series model sondes. One of these stations was moved from the mid-bay area near the Intracoastal Waterway to the East Bay bottom site in January of 1993. The other two are located on two of the largest commercially important oyster bars in the bay. These stations, like East Bay, are intended to be long-term. Other associated researchers and projects, which have in the past, or continue to utilize this water quality data, are:

Northwest Florida Water Management District

Tate’s Hell Restoration Project

Apalachicola Bay Freshwater Needs Study

Central Panhandle Aquatic Preserve, Water Quality Monitoring project

State of Florida, ACF “Water Wars.”

Garwood, J., Edmiston, H.L., Harper, J. / Apalachicola National Estuarine Research Reserve.

Season, Salinity, and Bottom-type Control Post-Larval and Juvenile Nekton Communities in Apalachicola Bay, Florida

Bedoya, P. / University of Florida, Dept. of Fisheries and Aquatic Sciences

Phytoplankton composition and abundance in relation to nutrients, salinity and hydrodynamics within the Apalachicola National Estuarine Research Reserve

Byars, N. / Florida State University.

How does climatic- and human-induced variability in river flow affect the spatial-temporal distribution of phytoplankton and their subsequent availability to oysters in Apalachicola Bay, Florida?

Caffrey, J. / University of West Florida

Development of an in situ instrument for measuring nitrogen in natural waters.

Chanton, J. / Florida State University, Department of Oceanography

Food Web Relationships Utilizing Stable Isotope Ratios.

Childs, C. / Florida State University, Dept. of Oceanography.

A spatial and temporal assessment of factors affecting denitrification in Apalachicola Bay.

Dean, B., Wanat, J., Stewart, J., and Edmiston, H.L. / Apalachicola National Estuarine Research Reserve. Growth and spat recruitment related to environmental conditions at oyster bars in Apalachicola Bay.

Donatto Surratt / Florida A&M University

Compare and contrast the historic and current trophic status of Apalachicola Bay using stable isotopes in sediments.

Dulaiova, H. / Florida State University, Dept. of Oceanography.

Determination of the distribution and volume of groundwater entering Apalachicola Bay from St. George Island.

Edmiston, H.L., Lewis, G., Wanat, J., Levi, L., Miller, K., Stewart, J. / Apalachicola National Estuarine Research Reserve.

Distribution and density of fishes and benthic invertebrates in Apalachicola Bay.

Iverson, R., Mortazavi, B. / Florida State University, Department of Oceanography

c-14 Primary Productivity

Nutrient Enrichment

Moss, A. / Auburn University.

Ctenophore physiology, and species composition in Apalachicola Bay.

Niu, X. / Florida State University, Department of Statistics

Edmiston, H.L., Bailey, G.O. / APA NERR

Time Series Models for Salinity and Other Environmental Factors in the Apalachicola Estuarine System (1998). Estuarine, Coastal, and Shelf Science 46:549-563.

Petes, L. / Florida State University

The effect of temperature and salinity on Apalachicola oyster survival, growth, condition, and disease

Prasad, A.K.S.K, Wise, S.W. / Florida State University.

Gauging the effects of the BP Oil Spill on diatoms, calcareous nanoplankton, and related protists at or near the base of the food chain in the NE Gulf of Mexico.

Putland, J. / Florida State University, Dept. of Oceanography.

Planktonic food web variations related to salinity and nutrient patterns in Apalachicola Bay.

Smith, S. / Florida A&M University

Drought, reduced river flow and sea level rise: exploring climate impacts on carbon and nitrogen cycling in the Apalachicola Bay system

Tamplin, M. L., et.al. / Univ. of Florida, Institute of Food and Agricultural Sciences

Association of Multiple-Antibiotic-Resistance Profiles with Point and Nonpoint Sources of *Escherichia coli* in Apalachicola Bay

Taylor, M.A. / Florida State University

Effects of River Flow on Juvenile Fish Nursery habitat Function: Developing an Ecosystem Perspective.

Wilber, P., et. al. /NOAA Coastal Services Center & Edmiston, L., et al. / Apalachicola National Estuarine Research Reserve

Benthic habitat mapping in Apalachicola Bay

**9. Sensor specifications:**

The Apalachicola NERR deployed 6600EDS and V2 sondes at Cat Point until 12/15/2015 when an EXO sonde began being used. 6600EDS and V2 sondes were used throughout 2015 at Dry Bar, East Bay Bottom and East Bay Surface. All sondes used optical DO probes.

YSI 6600 EDS or V2 data sonde:

Parameter: Temperature

Units: Celsius (ºC)

Sensor Type: Thermistor

Model #: 6560

Range: -5 to 50 ºC

Accuracy: +/-0.15ºC

Resolution: 0.01ºC

Parameter: Conductivity

Units: milli-Siemens per cm (mS/cm)

Sensor Type: 4-electrode cell with autoranging

Model #: 6560

Range: 0 to 100 mS/cm

Accuracy: +/-0.5% of reading + 0.001 mS/cm

Resolution: 0.001 mS/cm to 0.1 mS/cm (range dependant)

Parameter: Salinity

Units: parts per thousand (ppt)

Sensor Type: Calculated from conductivity and temperature

Model #: 6560

Range: 0 to 70 ppt

Accuracy: +/-1.0% of reading or 0.1ppt, whichever is greater

Resolution: 0.01ppt

Parameter: Dissolved Oxygen % saturation

Units: percent air saturation (%)

Sensor Type: Rapid Pulse – Clark type, polarographic

Model #: 6562

Range: 0 to 500 % air saturation

Accuracy: 0-200 % air saturation, +/-2% of the reading or 2% air saturation (whichever is greater); 200-500 % air saturation, +/-6% of reading

Resolution: 0.1% air saturation

or

Sensor Type: Optical probe with mechanical cleaning

Model#: 6150 ROX

Range: 0 to 500% air saturation

Accuracy: 0-200% air saturation: + / -1% of the reading or 1% of air saturation, whichever is greater

200-500% air saturation: + / - 15% of reading

Parameter: Dissolved Oxygen mg/L (calculated from DO%, temperature and salinity)

Units: milligrams per Liter (mg/L)

Sensor Type: Rapid Pulse-Clark type, polargraphic

Model #: 6562

Range: 0 to 50 mg/L

Accuracy: 0 to 20 mg/L, +/-2% of the reading or 0.2 mg/L (whichever is greater); 20 to 50 mg/L, +/ 6% of the reading

Resolution: 0.01 mg/L

or

Units: milligrams/Liter (mg/L)

Sensor type: Optical probe with mechanical cleaning

Model#: 6150 ROX

Range: 0 to 50 mg/L

Accuracy: 0-20 mg/L; +/-0.1 mg/L or 1% of the reading, whichever is greater; 20 to 50 mg/L; +/- 15% of the reading

Resolution: 0.01 mg/L

Parameter: Non-Vented Level – Shallow (depth)

Units: feet or meters (ft or m)

Sensor Type: Stainless steel strain gauge

Range: 0 to 30 ft (9.1m)

Accuracy: +/- 0.06 ft (0.018m)

Resolution: 0.001 ft (0.001m)

Parameter: pH EDS

Units: pH units

Sensor Type: Glass combination electrode

Model #: 6561

Range: 0 to 14 units

Accuracy: +/- 0.2 units

Resolution: 0.01 units

Parameter: Turbidity

Units: nephelometric turbidity units (NTU)

Sensor Type: Optical, 90º scatter, with mechanical cleaning

Model #: 6136

Range: 0 to 1000 NTU

Accuracy: +/- 2% reading or .3 NTU (whichever is greater)

Resolution: 0.1 NTU

YSI EXO Sonde:

Parameter: Temperature

Units: Celsius (C)

Sensor Type: Thermistor

Model#: 599870-01

Range: -5 to 50 C

Accuracy: -5 to 35: +/- 0.01, 35 to 50: +/- .005

Resolution: 0.01 C

Parameter: Conductivity

Units: milli-Siemens per cm (mS/cm)

Sensor Type: 4-electrode cell with autoranging

Model#: 599870-01

Range: 0 to 200 mS/cm

Accuracy: 0 to 100: +/- 0.5% of reading or 0.001 mS/cm; 100 to 200: +/- 1% of reading

Resolution: 0.001 mS/cm to 0.1 mS/cm (range dependant)

Parameter: Salinity

Units: practical salinity units (psu)/parts per thousand (ppt)

Sensor Type: Calculated from conductivity and temperature

Range: 0 to 70 psu

Accuracy: +/- 1.0% of reading pr 0.1 ppt, whichever is greater

Resolution: 0.01 psu

Parameter: Dissolved Oxygen % saturation

Sensor Type: Optical probe w/ mechanical cleaning

Model#: 599100-01

Range: 0 to 500% air saturation

Accuracy: 0-200% air saturation: +/- 1% of the reading or 1% air saturation, whichever is greater 200-500% air saturation: +/- 5% or reading

Resolution: 0.1% air saturation

Parameter: Dissolved Oxygen mg/L (Calculated from % air saturation, temperature, and salinity)

Units: milligrams/Liter (mg/L)

Sensor Type: Optical probe w/ mechanical cleaning

Model#: 599100-01

Range: 0 to 50 mg/L

Accuracy: 0-20 mg/L: +/-0.1 mg/l or 1% of the reading, whichever is greater

20 to 50 mg/L: +/- 5% of the reading

Resolution: 0.01 mg/L

Parameter: Non-vented Level - Shallow (Depth)

Units: feet or meters (ft or m)

Sensor Type: Stainless steel strain gauge

Range: 0 to 33 ft (10 m)

Accuracy: +/- 0.013 ft (0.004 m)

Resolution: 0.001 ft (0.001 m)

Parameter: pH

Units: pH units

Sensor Type: Glass combination electrode

Model#: 599701(guarded) or 599702(wiped)

Range: 0 to 14 units

Accuracy: +/- 0.01 units within +/- 10° of calibration temperature, +/- 0.02 units for entire temperature range

Resolution: 0.01 units

Parameter: Turbidity

Units: formazin nephelometric units (FNU)

Sensor Type: Optical, 90 degree scatter

Model#: 599101-01

Range: 0 to 4000 FNU

Accuracy: 0 to 999 FNU: 0.3 FNU or +/-2% of reading (whichever is greater); 1000 to 4000 FNU +/-5% of reading

Resolution: 0 to 999 FNU: 0.01 FNU, 1000 to 4000 FNU: 0.1 FNU

**Dissolved Oxygen qualifier:**

The reliability of the dissolved oxygen (DO) data after 96 hours post-deployment for non-EDS (Extended Deployment System) data sondes may be problematic due to fouling which forms on the DO probe membrane during some deployments (Wenner et al. 2001). Many reserves have upgraded to the YSI 6600 EDS data sondes, which increases DO accuracy and longevity by reducing the environmental effects of fouling. The user is therefore advised to consult the metadata and exercise caution when utilizing the DO data beyond the initial 96-hour time period. However, this potential drift is not always problematic for some uses of the data, i.e. periodicity analysis. It should also be noted that the amount of fouling is very site specific and that not all data are affected. The Research Coordinator at the specific NERR site should be contacted concerning the reliability of the DO data because of the site and seasonal variation in the fouling of the DO sensor. Please see section 4 for sonde versions at specific sites.

**Depth qualifier:**

The NERR System-Wide Monitoring Program utilizes YSI data sondes that can be equipped with either vented or non-vented depth/level sensors. Readings for both vented and non-vented sensors are automatically compensated for water density change due to variations in temperature and salinity; but for all non-vented depth measurements, changes in atmospheric pressure between calibrations appear as changes in water depth. The error is equal to approximately 1.03 cm for every 1 millibar change in atmospheric pressure, and is eliminated for vented sensors because they are vented to the atmosphere throughout the deployment time interval.

Beginning in 2006, NERR SWMP standard calibration protocol calls for all non-vented depth sensors to read 0 meters at a (local) barometric pressure of 1013.25 mb (760 mm/hg). To achieve this, each site calibrates their depth sensor with a depth offset number, which is calculated using the actual atmospheric pressure at the time of calibration and the equation provided in the SWMP calibration sheet or digital calibration log. This offset procedure standardizes each depth calibration for the entire NERR System. If accurate atmospheric pressure data are available, non-vented sensor depth measurements at any NERR can be corrected.

In 2010, the CDMO began automatically correcting depth/level data for changes in barometric pressure as measured by the Reserve’s associated meteorological station during data ingestion. These corrected depth/level data are reported as cDepth and cLevel, and are assigned QAQC flags and codes based on QAQC protocols. Please see sections 11 and 12 for QAQC flag and code definitions.

**Salinity Units Qualifier:**

In 2013, EXO sondes were approved for SWMP use and began to be utilized by Reserves. While the 6600 series sondes report salinity in parts per thousand (ppt) units, the EXO sondes report practical salinity units (psu). These units are essentially the same and for SWMP purposes are understood to be equivalent, however psu is considered the more appropriate designation. Moving forward the NERR System will assign psu salinity units for all data regardless of sonde type.

**Turbidity Qualifier:**

In 2013, EXO sondes were approved for SWMP use and began to be utilized by Reserves. While the 6600 series sondes report turbidity in nephelometric turbidity units (NTU), the EXO sondes use formazin nephelometric units (FNU). These units are essentially the same but indicate a difference in sensor methodology, for SWMP purposes they will be considered equivalent. Moving forward, the NERR System will use FNU/NTU as the designated units for all turbidity data regardless of sonde type. If turbidity units and sensor methodology are of concern, please see the Sensor Specifications portion of the metadata.

**10. Coded variable definitions:**

Site definitions:

**Sampling Station: Sampling site code: Station code:**

Cat Point CP apacpwq

Dry Bar DB apadbwq

East Bay Bottom EB apaebwq

East Bay Surface ES apaeswq

**11. QAQC flag definitions**

QAQC flags provide documentation of the data and are applied to individual data points by insertion into the parameter’s associated flag column (header preceded by an F\_). During primary automated QAQC (performed by the CDMO), -5, -4, and -2 flags are applied automatically to indicate data that is missing and above or below sensor range. All remaining data are then flagged 0, passing initial QAQC checks. During secondary and tertiary QAQC 1, -3, and 5 flags may be used to note data as suspect, rejected due to QAQC, or corrected.

-5 Outside High Sensor Range

-4 Outside Low Sensor Range

-3 Data Rejected due to QAQC

-2 Missing Data

-1 Optional SWMP Supported Parameter

0 Data Passed Initial QAQC Checks

1 Suspect Data

2 *Open - reserved for later flag*

3 Calculated data: non-vented depth/level sensor correction for changes in barometric pressure

4 Historical Data: Pre-Auto QAQC

5 Corrected Data

**12) QAQC code definitions**

QAQC codes are used in conjunction with QAQC flags to provide further documentation of the data and are also applied by insertion into the associated flag column. There are three (3) different code categories, general, sensor, and comment. General errors document general problems with the deployment or YSI datasonde, sensor errors are sensor specific, and comment codes are used to further document conditions or a problem with the data. Only one general or sensor error and one comment code can be applied to a particular data point, but some comment codes (marked with an \* below) can be applied to the entire record in the F\_Record column.

General Errors

GIC No instrument deployed due to ice

GIM Instrument malfunction

GIT Instrument recording error; recovered telemetry data

GMC No instrument deployed due to maintenance/calibration

GNF Deployment tube clogged / no flow

GOW Out of water event

GPF Power failure / low battery

GQR Data rejected due to QA/QC checks

GSM See metadata

Corrected Depth/Level Data Codes

GCC Calculated with data that were corrected during QA/QC

GCM Calculated value could not be determined due to missing data

GCR Calculated value could not be determined due to rejected data

GCS Calculated value suspect due to questionable data

GCU Calculated value could not be determined due to unavailable data

Sensor Errors

SBO Blocked optic

SCF Conductivity sensor failure

SCS Chlorophyll spike

SDF Depth port frozen

SDG Suspect due to sensor diagnostics

SDO DO suspect

SDP DO membrane puncture

SIC Incorrect calibration / contaminated standard

SNV Negative value

SOW Sensor out of water

SPC Post calibration out of range

SQR Data rejected due to QAQC checks

SSD Sensor drift

SSM Sensor malfunction

SSR Sensor removed / not deployed

STF Catastrophic temperature sensor failure

STS Turbidity spike

SWM Wiper malfunction / loss

Comments

CAB\* Algal bloom

CAF Acceptable calibration/accuracy error of sensor

CAP Depth sensor in water, affected by atmospheric pressure

CBF Biofouling

CCU Cause unknown

CDA\* DO hypoxia (<3 mg/L)

CDB\* Disturbed bottom

CDF Data appear to fit conditions

CFK\* Fish kill

CIP\* Surface ice present at sample station

CLT\* Low tide

CMC\* In field maintenance/cleaning

CMD\* Mud in probe guard

CND New deployment begins

CRE\* Significant rain event

CSM\* See metadata

CTS Turbidity spike

CVT\* Possible vandalism/tampering

CWD\* Data collected at wrong depth

CWE\* Significant weather event

**13. Post Deployment Information**

End of deployment Post-calibration Readings in Standard Solutions:

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Deployment Date | DO% | Depth (m) | SpCond (mS/cm) | pH | Turb(NTU) | |
|  | (Std: 100%) | (Std: varies) | (Std: 50@25°) | (Std: 7) | (Std: 0) |  |
| **Cat Point** |  |  |  |  |  |  |
| 1/6/2015 | 101 | 0.051 | 50.15 | 6.8 | -0.4 |  |
| 1/21/2015 | 98.5 | 0.086 | 46.57 | 7.12 | -0.2 |  |
| 2/3/2015 | 99.1 | 0.008 | 46.34 | 7.66 | 4.8 |  |
| 2/24/2015 | 101 | 0.011 | 45.27 | 7.2 | 0.2 |  |
| 3/17/2015 | 100.5 | 0.075 | 45.8 | 7.27 | -0.3 |  |
| 4/6/2015 | \* | \* | \* | \* | \* | Unable to connect to sonde |
| 4/21/2015 | 98.9 | 0.091 | 36.77 | 7.21 | 0.2 |  |
| 5/12/2015 | 99.2 | 0.013 | 48.93 | 7.16 | -2.3 |  |
| 6/9/2015 | 101.9 | 0.46 | 48.18 | 7.07 | 0.2 |  |
| 6/30/2015 | 99.6 | -0.013 | 45.98 | 7.08 | 0.6 |  |
| 7/21/2015 | 102.3 | 0.049 | 50.07 | 7.03 | 0.1 |  |
| 8/4/2015 | 101.9 | 0.025 | 49.09 | 7.16 | 1.7 |  |
| 8/18/2015 | 103.2 | 0.016 | 48.3 | 7.05 | 0.1 |  |
| 9/9/2015 | OOR | 0.002 | OOR | 7.01 | OOR |  |
| 10/6/2015 | 101.3 | 0.022 | 44.33 | 7.3 | 0.2 |  |
| 11/3/2016 | 87.1 | -0.046 | 48.82 | 7.15 | 6.2 |  |
| 12/15/2016 | 101.5 | 0.22 | 49.12 | 7.02 | 0.04 |  |
|  |  |  |  |  |  |  |
| Deployment Date | DO% | Depth (m) | SpCond (mS/cm) | pH | Turb(NTU) | |
|  | (Std: 100%) | (Std: varies) | (Std: 50@25°) | (Std: 7) | (Std: 0) |  |
| **Dry Bar** |  |  |  |  |  |  |
| 1/6/2015 | 101.8 | 0.092 | 51.06 | 6.89 | -0.3 |  |
| 1/21/2015 | \* | \* | \* | \* | \* | Couldn't connect to logger |
| 2/3/2015 | 101.2 | 0.007 | 51.15 | 6.99 | 4.8 |  |
| 2/24/2015 | 100.9 | 0.01 | 47.56 | 7.02 | 0 |  |
| 3/17/2015 | 101.4 | 0.068 | 49.52 | 7.02 | 0.6 |  |
| 4/6/2015 | 98.7 | 0.014 | 48.9 | 7.06 | 0 |  |
| 4/21/2015 | 101 | 0.1 | 47.3 | 7.02 | 2.1 |  |
| 5/12/2015 | 100.6 | 0.015 | 50.21 | 7.14 | 1.3 |  |
| 6/9/2015 | 99.8 | 0.72 | 50.72 | 7.05 | 0.7 |  |
| 6/30/2015 | 99.7 | 0.004 | 49.45 | 6.95 | 0.4 |  |
| 7/21/2015 | 101.8 | 0.049 | 49.95 | 7.01 | 2.7 |  |
| 8/4/2015 | 98.8 | 0.23 | 48.26 | 6.72 | 0.8 |  |
| 8/18/2015 | 99.1 | 0.002 | 49.4 | 7.02 | -0.3 |  |
| 9/9/2015 | 100.5 | 0 | 49.16 | 7.01 | 0.04 |  |
| 10/6/2015 | 99.3 | 0.02 | 49.76 | 7.01 | 0 |  |
| 11/3/2016 | 104.4 | -0.031 | 48.52 | 7.13 | 0.3 |  |
| 12/15/2016 | \* | \* | \* | \* | \* | Couldn't connect to logger |
|  |  |  |  |  |  |  |
| Deployment Date | DO% | Depth (m) | SpCond (mS/cm) | pH | Turb(NTU) | |
|  | (Std: 100%) | (Std: varies) | (Std: 50@25°) | (Std: 7) | (Std: 0) |  |
| **East Bottom** | |  |  |  |  |  |
| 1/6/2015 | 100.9 | 0.043 | 52.33 | 7.15 | -2.2 |  |
| 1/21/2015 | 99.7 | 0.096 | 48.73 | 7.04 | -0.1 |  |
| 2/3/2015 | 99.4 | 0.008 | 51.95 | 6.97 | 2.7 |  |
| 2/24/2015 | 100.6 | 0.011 | 47.89 | 7.01 | 1.2 |  |
| 3/17/2015 | 99.9 | 0.066 | 49.42 | 7.09 | -0.7 |  |
| 4/6/2015 | 99.9 | 0.015 | 48.21 | 7.09 | 0.1 |  |
| 4/21/2015 | 100.6 | 0.093 | 50.62 | 7 | 0.5 |  |
| 5/12/2015 | 99.2 | -0.02 | 50.46 | 7.11 | 0.8 |  |
| 6/9/2015 | 100.7 | 0.051 | 50.99 | 7.37 | -1.4 |  |
| 6/30/2015 | 99.7 | -0.016 | 50.86 | 7.02 | 1 |  |
| 7/21/2015 | 100.3 | 0.06 | 52.78 | 6.83 | 0.4 |  |
| 8/4/2015 | 98.8 | 0.039 | 49.07 | 7.08 | 0.4 |  |
| 8/18/2015 | 100.2 | 0.015 | 50.07 | 7.08 | -0.2 |  |
| 9/9/2015 | 102.6 | 0 | 48.32 | 7.08 | 0.6 |  |
| 10/6/2015 | 100.5 | 0.023 | 50.88 | 7.01 | 3.6 |  |
| 11/3/2016 | 103 | -0.03 | 48.77 | 7.19 | 0.2 |  |
| 12/15/2016 | 105.5 | 0.077 | 49.14 | 6.81 | 1.2 |  |
|  |  |  |  |  |  |  |
| Deployment Date | DO% | Depth (m) | SpCond (mS/cm) | pH | Turb(NTU) | |
|  | (Std: 100%) | (Std: varies) | (Std: 50@25°) | (Std: 7) | (Std: 0) |  |
| **East Surface** | |  |  |  |  |  |
| 1/6/2015 | 99.7 | 0.036 | 50.84 | 7.07 | 1.1 |  |
| 1/21/2015 | 98.5 | 0.081 | 49.26 | 7.18 | 0.3 |  |
| 2/3/2015 | 101 | 0.012 | 51.35 | 7.08 | -2.8 |  |
| 2/24/2015 | 102.8 | 0.007 | 48.76 | 7.23 | 1.2 |  |
| 3/17/2015 | 101 | 0.075 | 49.84 | 7.14 | 0 |  |
| 4/6/2015 | 101.8 | 0.014 | 47.12 | 7.06 | 0 |  |
| 4/21/2015 | 100.8 | 0.093 | 49.36 | 7.05 | 0.9 |  |
| 5/12/2015 | 99.1 | -0.014 | 48.76 | 7.2 | 0.9 |  |
| 6/9/2015 | 100.1 | 0.042 | 50.09 | 7.09 | 5.3 |  |
| 6/30/2015 | 99.4 | -0.05 | 47.82 | 7.1 | 0.8 |  |
| 7/21/2015 | 99.6 | 0.049 | 50.97 | 7.01 | 1.7 |  |
| 8/4/2015 | 100 | 0.026 | 48.03 | 7.03 | 1.3 |  |
| 8/18/2015 | 99.8 | 0.005 | 49.75 | 6.79 | OOR |  |
| 9/9/2015 | 102.3 | 0.004 | 48.01 | 6.97 | 0.8 |  |
| 10/6/2015 | 105.5 | 0.029 | 50.39 | 7.16 | 3.8 |  |
| 11/3/2016 | 101.4 | -0.026 | 48.12 | 6.97 | 7.4 |  |
| 12/15/2016 | 99.6 | 0.085 | 50.47 | OOR | 1.5 |  |

**14. Other remarks / notes**

Data are missing due to equipment or associated specific probes not being deployed, equipment failure, time of maintenance or calibration of equipment, or repair/replacement of a sampling station platform. Any NANs in the dataset stand for “not a number” and are the result of low power, disconnected wires, or out of range readings. If additional information on missing data is needed, contact the Research Coordinator at the reserve submitting the data.

The Apalachicola-Chattahoochee-Flint (ACF) River Basin experienced a “dry” year in regards to rainfall for 2011. For 2012 we were in a La Nina, which had resulted in dry conditions for 2012 and part of 2013. From 2/27/2013-3/4/2013, the Apalachicola River’s discharge was above 100,000 cubic feet per second (cfs), and considered to be at a flood stage. In April 2013, the ACF River Basin was no longer experiencing drought conditions. May of 2014 river discharge was above average and peaked around 95,000 cubic feet per second (cfs).

**Cat Point**

* Turbidity Spikes due to rain, river discharge, and/ or wind resuspension
* 01/01/2015 00:00-01/06/2015 13:30 Reject all Turbidity data, erroneous data and biofouling
* 01/01/2015 00:00-01/06/2015 13:30 Reject pH data, inconsistent with other deployments
* 01/01/2015 00:00-01/06/2015 13:30 Suspect all data due to biofouling
* 02/22/2015 02:30-02/24/2015 10:00 Suspect pH data, OOR post calibration, biofouling from barnacles that almost completely covered bulb
* 03/17/2015 10:30-04/06/2015 09:30 Suspect pH data, OOR post calibration, biofouling from barnacles that almost completely covered bulb
* 04/06/2015 09:45-04/21/2015 10:00 Unable to connect to sonde to retrieve data
* 05/05/2015 03:15-:05:00, 06:00-06:45, 07:30-07:45, 10:00, 11:15-17:45, 20:00 -05/06/2015 02:45-07:30 Suspect Turbidity spikes
* 05/07/2015 21:15 Suspect DO Values >120%
* 05/13/2015 01:45-02:15, 05/14/2015 03:15, 06/07/2015 21:15, 21:45, 06/09/2015 10:45, 11:15, 21:30, 22:15-06/10/2015 00:15, 00:45-01:15, 11:00, 11:30, 06/11/2015 01:15-02:15 Hypoxic DO Events
* 05/13/2015 01:45-02:15, 05/30/2015 16:15, 06/01/2015 12:15 Suspect Turbidity Negative Values
* 05/20/2015 19:15, 05/21/2015 15:00, 05/22/2015 18:15 Suspect Turbidity Spikes
* 06/18/2015 19:30 -06/30/2015 8:30 Suspect DO data wiper fell off
* 06/18/2015 12:30, 06/19/2015 3:45, 19:30, 06/20/20152:15, 11:00, 18:30, 06/22/2015 10:30, 17:30,06/24/2015 4:15, 06/25/2015 7:00, 06/26/2015 3:15, 23:45, 06/27/2015 17:45, 06/28/2015 6:30 Rejected Out of Range Turbidity Spikes
* 6/20 7:00, 10:30, 13:45, 16:15, 6/21 8:15, 14:45, 6/22 15:30, 6/23 6:15, 6/25 2:30-45, 13:15, 6/26 4:00, 13:15, 15:00, 6/27 0:00, 9:30, 22:15, 6/30 3:45 Suspect Turbidity Spikes
* 06/29/2015 00:00-23:45 Significant Rain Event
* 07/14/2015, 18:00, 07/16/2015 11:45Suspect Turbidity Spikes >150 NTU
* 07/01/2015 17:15-18:00, 19:00-20:00, 07/04/2015 15:00-45 Suspect DO Values >120%
* 07/10/2015 7:00,07/11/2015 2:00, 07/20/2015 9:00 Hypoxic DO Events
* 7/23 5:45, 7/24 19:00, 7/25 00:30, 7/26 13:30, 7/27 1:30, 7/28 7:15, 16:30, 7/29 9:45, 18:45, 7/30 23:00, 8/1 5:45, 12:45, 8/2 15:30, 8/4 8:15 Reject DO Values of 0
* 07/21/2015 16:00-15, 07/22/2015 13:30-16:30, 07/23/2015 16:00-15 Suspect DO Values >120%
* 07/21/2015 8:45-08/04/2015 9:00 Reject all Turbidity Values
* 08/09/2015 15:00-15, 16:00-15, 17:30-20:15, 20:45-21:30Suspect DO Values >120%
* 08/08/2015 15:45-16:30 Suspect Turbidity Spikes >150 NTU
* 08/18/2015 9:00-09/09/2015 9:00 Reject all Turbidity Values
* 8/19 12:00, 12:30-45, 13:30-45, 16:15, 18:45, 8/21 14:30-15:30, 17:00-45, 18:15, 8/22 15:00-17:30, 18:45, 8/23 16:00-18:30, 8/24 16:45-18:30, 8/25 17:30-18:15, 18:45-19:15, 8/26 18:00-19:45, 8/30 14:30-17:30, 19:00, 8/31 13:15-14:15, 14:45-16:00, 9/2 15:30-16:30, 17:45-19:30, 9/3 16:30, 9/4 14:00-45, 15:15-16:30, 18:30-19:00, 9/8 16:30-19:30, 20:00 Suspect DO Values >120%
* 10/05/2015 21:45, 22:30, 10/06/2015 6:45, 7:45Reject OOR Turbidity Spikes
* 09/09/2015 9:15-10-06/2015 8:45 Suspect ALL Spc, DO, pH, Turb data OOR Post calibration (unfortunately actual post calibration values not available, but they were all out of range).
* 10/19/2015 03:15 Suspect Turbidity Spikes >150 NTU
* 10/06/2015 09:00-11/03/2016 09:45 Suspect pH
* 10/06/2015 09:00- 11/03/2016 09:45 Suspect Conductivity, Salinity Low Post Calibration & Disjointed
* 11/03/2015 09:30-09:45 Suspect DO sensor drift
* 12/02/2015 18:15 Suspect Turbidity Spike
* 12/15/2015 09:45-10:45 Time gap due to switch to EXO
* 12/29/2015 12:15-01/13/2016 17:15 Significant weather event, river flooded

**Dry Bar**

* Turbidity Spikes due to rain, river discharge, and/ or wind resuspension
* 01/08/2015 00:00-15, 1:45 Suspect Turbidity spikes >150 NTU
* 01/21/2015 9:15-02/03/2015 10:30 Unable to connect to sonde to Post Cal or retrieve Deployment Data; sending in for repair
* 02/17/20155:30; 02/21/2015 3:15-30, 4:30-6:30, 7:00, 9:30; 02/25/2015 16:15-30, 19:00-15, 02/26/2015 7:30, 11:15 Suspect Turbidity spikes >150 NTU
* 03/13/2015 4:45-5:00, 6:00-45 Suspect Turbidity spikes >150 NTU
* 03/03/2015 17:15-30, 18:00-22:00, 23:00-15, 03/04/2015 7:00, 7:45-9:45, 13:15-14:15, 15:15-23:30, 03/05/2015 10:30-12:00. 13:30-17:30, 19:00; 03/16/2015 17:00-19:45 Suspect DO >120%
* 03/29/2015 19:30-20:45, 03/30/201515:45-16:00, 16:45, 04/02/2015 18:30-19:30, 04/03/2015 16:15-17:00, 20:45-21:00, 04/07/2015 19:00-20:00, 20:30, 21:00-22:15, 4/8 18:15-19:00, 21:15-22:00, 22:45, 04/09/2015 18:45-20:00, 20:45-21:30 Suspect DO >120%
* 04/10/2015 10:15-11:15, 04/12/2015, 10:00-15, 11:00-45, 04/18/2015 7:00, 7:30-45, 8:15-45 Hypoxic DO Events
* 04/26/2015 11:15, 11:45, 17:45, 18:15-45, 19:15, 04/28/2015 17:30, 04/29/2015 2:45-3:30, 4:15-45, 12:00-13:15, 14:15-45, 18:30-19:00, 04/30/2015 1:15, 2:45-6:30, 7:00, 8:00-15, 19:45, 20:15-30, 22:15-30, 23:15, 05/01/2015 00:30-6:00, 05/08/2015 9:15, 05/10/2015 00:15-1:30, 2:00-15, 05/12/2015 2:30, 20:00 Hypoxic DO Events
* 04/28/2015 8:45, 05/06/2015 6:30 Suspect Turbidity Spikes
* 05/15/2015 2:00-30, 5:45, 6:30, 8;45, 11:15-30, 12:15, 13:00-15, 16:30, 05/16/2015 4:00, 10:30, 16:15-45, 05/17/2015 3:15, 05/18/2015 22:30, 05/21/2015 21:15, 05/23/2015 23:30-45, 05/24/2015 2:45, 05/25/2015 1:45, 05/26/2015 7:15-30, 9:30-10:00, 05/31/2015 9:30, 06/04/2015 20:15, 06/07/2015 11:00 Suspect Turbidity Spikes
* 05/13/2015 1:15-4:00, 05/13/2015 23:30-05/14/2015 00:15, 05/14/2015 2:45-3:30, 05/18/2015 8:00-15, 05/19/2015 7:00-45, 9:00-10:00, 05/20/2015 23:00, 05/21/2015 6:30, 06/02/2015 7:15-30, 06/03/2015 5:45-8:30, 06/05/2015 8:30-9:30, 06/06/2015 8:00-45, 9:15, 06/07/2015 8:00, 06/08/2015 18:15-30, 19:15-45, 21:15 Hypoxic DO Events
* 05/12/2015 16:15, 17:15, 17:45-18:00, 05/13/2015 18:00, 18:30-45, 19:30-20:15, 05/13/2015 23:30-05/14/2015 00:15, 05/14/2015 14:18, 18:45-19:00, 20:15-45 Suspect DO Values >120%
* 06/09/2015 11:00-15, 11:45, 22:15-30, 06/10/2015 1:15-30, 06/14/2015 4:45-5:30, 7:30-45, 06/15/2015 5:30-6:30, 06/16/2015 5:45-8:45 22:00-45, 06/17/2015 6:15, 6:45-10:00, 22:30-23:30, 06/18/2015 7:00-11:30, 06/19/2015 7;15-8:15, 9:00, 9:30, 06/19/2015 23:45-06/20/2015 00:15, 06/20/2015 8:00, 9:00, 9:30, 6/21/2015 00:15-1:15, 06/22/2015 10:15, 06/23/2015 9:30-45, 06/24/2015 00:30, 4:45-5:30, 9:00-10:30, 12:15-13:30, 21:15, 06/24/2015 23:15-06/25/2015 3:30 Hypoxic DO Events
* 07/09/2015 5:30-45 Hypoxic DO Events
* 07/05/2015 12:30-45 Suspect Turbidity Spikes >150 NTU
* 07/01/2015 16:45, 07/10/2015 13:30-17:00, 17:30, 07/11/2015 13:15-30, 14:00, 14:30-17:45, 07/18/2015 16:45-17:15, 19:00, 07/19/2015 15:30-17:00 Suspect DO Values >120%
* 07/22/2015 12:30, 13:15-14:00, 07/23/2015 14:45, 07/24/2015 13:45-14:00, 07/25/2015 13:30-16:15, 07/26/2015 15:30-16:00, 18:00, 18:45, 19:45-20:45, 07/27/2015 14:30-21:30, 07/28/2015 15:00, 15:45-16:30 Suspect DO Values >120%
* 07/27/2015 2:00-15, 07/28/2015 5:15, 07/29/2015 4:45-6:00, 07/31/2015 7:00-45, 08/03/2015 8:00-9:45 Hypoxic DO Events
* 08/03/2015 17:45-18:15 Suspect Turbidity Values >150 NTU
* 08/09/2015 18:30-45, 08/10/2015 13:15-19:45, 20:45-21:00, 08/11/2015 13:30-20:00, 08/13/2015 14:30-15:15, 16:30-17:30, 18:00-15, 19:00 Suspect DO Values >120%
* 08/10/2015 4:30, 08/14/2015 6:45, 08/17/2015 10:15-30, 11:15 Suspect Turbidity Spikes >150 NTU
* 09/09/2015 1:45 Suspect Turbidity Spikes >150 NTU
* 09/02/2015 23:15, 09/06/2015 6:00, 7:15, 8:00-30 Hypoxic DO Events
* 08/18/2015 15:15-30, 08/21/2015 14:45-15:00, 08/22/2015 18:45-19:30, 08/23/2015 16:45-17:15, 08/27/2015 15:15-16:00, 08/31/2015 20:00 Suspect DO Values >120%
* 09/22/2015 10:45, 09/24/2015 7:00, 09/25/2015 15:15, 09/26/2015 4:00, 10:00, 18:00, 19:30, 09/28/2015 22:00, 09/29/2015 8:30, 09/30/2015 21:00, 10/01/2015 10:15, 19:15, 10/02/2015 14:45, 10/03/2015 7:15, 10/04/2015 20;30, 10/05/2015 2:00-15, 13:00, 15:00 Reject ALL OOR Turbidity Spikes
* 09/15/2015 15:30, 16:00-15, 17:00, 09/16/2015 3:30, 4:45-5:00, 09/18/2015 07:15-30, 9:15, 10:15, 11:45, 13:00, 14:45, 09/19/2015 8:00, 8:30, 15:00, 09/20/2015 6:45, 7:30, 10:00, 11:00, 11:30, 12:15, 14:15, 17:15, 9/21 6:15, 7:00, 7:45, 8:”15, 9:15, 9:45, 12:15, 16:00, 17:30, 18:45, 09/22/2016 7:30, 9:30, 10:00-15, 11:30, 12:45, 13:45, 14:15, 15:30-45, 16:15-30, 09/23/2015 11:30, 13:45, 17:15, 09/24/2015 16:00, 09/25/2015 6:45, 9:30-45, 10:45, 11:45-12:00, 12:45-13:15, 09/26/2015 6:45-7:00, 9:00, 9:30, 10:30-45, 12:30-45, 13:30, 16:30-45, 22:45, 09/27/2015 4:45, 16:00, 09/28/2015 2:45, 3:45-4:00, 16:15, 16:45-18:15, 18:45-19:45, 09/29/2015 11:00, 11:45, 22:30
* 09/30/2015 1:15, 4:15, 8:15, 9:30, 10;45, 11:15-30, 14:15, 10/01/2015 8:15-30, 11:30, 12:15, 13:15, 15:30, 16:30-45, 10/02/2015 8:30-45, 10:30-45, 13:15-30, 15:30-45, 10/03/2015 9:45-10:00, 11:00, 14:15, 15:30-45, 17:30, 18:45, 20:30-45, 10/04/2015 13:45, 20:15, 10/05/2015 11;45, 14:15, 14:45, 17:30, 18:15, 10/06/2015 6:45, 9:15, 10:45 Suspect Turbidity Spikes >150 NTU
* 09/18/2015 21:30, 09/21/2015 22:15-30, 09/22/2015 00:45-1:30, 2:15 Hypoxic DO Events
* 10/07/2015 13:45, 14:30-17:00, 10/08/2015 17;15, 10/12/2015 16:30-18:30 Suspect DO values >120%
* 10/16/2015 7:30, 8:00, 10/30/2015 18:00, 11/03/2015 00:45 Suspect Turbidity Spikes >150 NTU
* 10/18/2015 0:00-10/27/2015 17:30 High winds with Easterly component
* 10/18/2015 8:30, 10/19/2015 9:15,19:00, 20:45-21:00, 21:45,10/20/2015 00:30-45, 2:45, 12:00, 12:45, 13:15, 10/26/2015 2:45, 4:00, 4:45-6:15, 6:45, 12:30, 13:30-15:30, 22:15-30, 10/27/2015 00:00-13:15 Suspect Turbidity Spikes >150 NTU
* 12/02/2015 22:15 Reject Out Of Range Turbidity Spike
* 12/15/2015 11:00-01/13/2016 09:30 could not connect to sonde to post calibrate, sending in for repair

**East Bottom**

* Turbidity spikes due to rain, river discharge, and/ or wind resuspension
* 01/01/2015 00:00-01/06/2015 14:00 Catastrophic Temp failure Reject all data
* 02/09/2015 23:00-45, 02/10/2015 00:45, 01:15-15:00, 21:30-23:45, 02/11/2015 00:00-5:30, 02/11/2015 23:45 -5:15, 11:45, 2/11/2015 12:15-2/13 7:45, 02/13/2015 04:00-7:45, 02/23/2015 21:15, 02/24/2015 03:15-4:15 Hypoxic DO Events
* 03/04/2015 19:15, 19:45-20:00 Suspect DO >120%
* 03/04/2015 04:00-12:15, 03/10/2015 18:15, 19:00-21:45, 03/11/2015 02:45-3:30, 7:15-22:00, 03/12/2015 09:45-16:45, 03/13/2015 02:30-6:15, 03/14/2015 15:15-23:45, 03/15/2015 00:00-23:45, 03/16/2015 00:00-10:00, 13:30-23:45, 03/17/2015 00:00-9:45 Hypoxic DO Events
* 04/06/2015 10:30-45, 11:15-23:45, 04/07/2015 00:00-2:45, 03:30-45, 4:45, 5:15-23:45, 04/08/2015 00:00-2:15, 08:30-45, 9:45-14:15, 18:00, 04/10/2015 02:30, 10:00, 14:45, 18:00-30, 04/11/2015 03:15-30, 16:30, 18:15, 04/13/2015 12:45-15:15, 19:15-23:45, 04/14/2015 00:00-2:30 Hypoxic DO Events
* 04/09/2015 01:45, 04/11/2015 09:45, 05/18/201516:15 Suspect Turbidity spikes
* 05/10/2015 18:30-19:45, 20:30-22:00, 05/14/2015 07:30, 05/16/2015 09:45, 10:15, 12:30-23:45, 05/17/2015 00:00-15, 2:00-13:00, 13:45-23:45, 05/18/2015 00:00-4, 5:45-13:45, 15:30-45, 16:15-17:15, 17:45-22:00, 23:00-45, 05/19/2015 00:00-45, 8:00-45, 10:15-11:00, 05/20/2015 11:00-45, 05/21/2015 09:00-30, 05/22/2015 09:30-10:30, 13:15, 05/24/2015 11:45-12:00, 13:00-15, 15:30, 19:45, 05/25/2015 01:15, 1:45, 2:30-23:45, 05/26/2015 00:00-23:45, 05/27/2015 00:00-23:45, 05/28/2015 00:00-23:45, 05/29/2015 00:00-23:45, 05/30/2015 00:00-23:45, 05/31/2015 00:00-23:45, 06/01/2015 00:00-16:15, 17:00-45, 06/02/2015 05:00-7:30, 9:00-10:00, 13:15-16:00, 23:30, 06/03/2015 05:15-7:45, 8:15-15:45-23:45, 06/04/2015 00:15-30, 6:30-7:30, 9:00, 9:30-14:00, 14:30-16:45, 06/05/2015 07:30-13:00, 17:00, 06/06/2015 00:45-2:30, 8:00-9:45, 11:00-19:15, 19:45-20:00, 06/07/2015 02:00-30, 8:15-9:00, 9:30-45, 11:30-19:00, 06/08/2015 03:15, 5:30, 8:45-9:15, 9:45-11:00, 15:30-45, 17:45, 18:45-20:15, 06/09/2015 03:45-4:00,09:45-10:15, 16:30-17:15-18:15-30, 21:30-22:30, 23:15, 06/10/2015 01:30, 4:15-5:15, 6:45-7:00 Hypoxic DO Events
* 06/10/2015 8:30 Turbidity Spike Out of Range
* 06/22/2015 8:30-10:30 Suspect All Data, Cleaning Tube
* 06/24/2015 5:30-21:00 Suspect Salinity
* 06/26/2015 16:15, 19:00, 20:00, 6/28/2015 11:45 Suspect Turbidity Values >150 NTU
* 06/24/2015 7:00-12:00 Suspect Salinity
* 06/11/2015 13:00-15, 06/13/2015 07:30, 12:15-45, 22:15, 06/14/2015 04:15-5:30, 7:30-9:00, 13:00-15, 06/15/2015 05:15-6:45, 9:30-10:15, 13:45-14:30, 06/16/2015 06:00-7:45, 10:00-11:45, 12:15, 13:15-15:30, 16:15, 06/17/2015 00:30, 7:15-9:15, 9:45-13:00, 06/18/2015 00:45-1:00, 6:45-7:45, 8:30, 10:45-13:30, 06/19/2015 01:15-45, 7:45-10:30, 11:15-15:30, 06/20/2015 01:30-2:15, 8:15-9:45, 12:45-13:15, 06/21/2015 02:15-3:00, 17:45, 06/22/2015 02:30-3:00, 17:00-19:15, 06/23/2015 03:00-15, 9:00-15, 10:00-11:45, 18:30-45, 21:45-22:15, 06/24/2015 03:45-4:00, 5:00-21:00, 23:00, 06/25/2015 01:45-2:45, 3:45-4:45, 10:45, 23:15, 06/26/2015 00:15, 1:00, 6:45-7:00, 06/27/2015 06:15-7:15, 06/28/2015 02:30-45, 5:00 Hypoxic DO Events
* 07/12/2015 14:45- 7/21/2015 9:45 Suspect ALL data
* Turbidity spikes due to rain, river discharge, and/ or wind resuspension
* Turbidity from 6/30 to 7/20 is marked 1 GSM CMD. The bottom of guard had ~+2" of mud in it. However, ES’s turbidity graph is nearly identical, both increasing or decreasing together, and the river was high 6/30 10100cfs inc to 16400cfs 7/10. However, the mud in the guard most likely is responsible for these high readings.
* 07/02/2015 10:30, 07/04/2015 07:30-45, 07/05/2015 07:30-9:00, 14:45, 18:00, 18:45-19:00, 07/06/2015 07:45-9:15, 13:30-14:45, 15:15, 19:00-30, 07/07/2015 02:30, 8:15-30, 9:00-30, 07/08/2015 02:30, 3:15-4:00, 9:30, 12:00-13:45, 14:45, 15:45-18:00, 21:00-23:45, 07/09/2015 00:00-20:00, 20:45-23:45, 07/10/2015 00:00-16:45, 17:30-20:45, 07/11/2015 01:00-2:15, 2:45-3:45, 4:45-10:00, 12:15-13:00, 20:45, 07/12/2015 04:00, 5:45-7:45, 12:45-13:00, 15:00-15, 15:45-17:30 Hypoxic DO Events

07/22/2015 00:30-1:00, 2:30-4:00, 11:30-14:45, 07/23/2015 00:00-1:45, 2:15-3:30, 8:45, 9:15-30, 21:30, 22:30-23:45, 07/24/2015 00:45-4:00, 16:30-45, 17:45-18:00, 18:30-45, 23:00-30, 07/25/2015 09:30-20:30, 21:30-23:45, 07/26/2015 00:00-19:45, 21:00, 21:45-23:45, 07/27/2015 00:00-7:30, 8:15-15:00, 15:30-23:45, 07/28/2015 00:00-9:30, 10:15, 11:15-14:15, 14:45, 20:15-21:30, 22:15, 07/29/2015 00:00-2:15, 3:15-10:30, 11:15-15:30, 16:30, 21:45-22:15, 07/30/2015 01:45-2:00, 4:15-11:00, 13:15-45, 07/31/2015 05:45-8:00, 08/01/2015 05:30-7:00, 9:00-11:45, 12:45-13:15, 08/02/2015 06:30-7:30, 10:30-45, 08/03/2015 07:00-30, 9:00-10:30, 11:45-12:15, 08/04/2015 01:00-2:00, 14:30-15:00, 15:45 Hypoxic DO Events

* From 7/22/2015 10:30 to 8/4/2015 7:45 turbidity data is marked 1 CSM. The river was still up, ES also had elevated readings (may not be as large do coincide with those of EB), the fouling was a normal amount, 8/3 it did rain ~2-3”, and the values are close to those of the next deployment. But suspect isn’t rejected so it could work.
* 08/05/2015 00:15-45, 1:30, 15:45-17:45, 08/06/2015 04:45-5:00, 08/08/2015 01:00, 10:00-15, 08/09/2015 00:30, 2:00-15, 4:00-15, 11:45-23:45, 08/10/2015 00:00-8:30, 9:00-45, 10:30-23:45, 08/11/2015 00:00-9:30, 11:30-15:00, 16:15-23:45, 08/12/2015 00:00-16:45, 17:30, 19:00-22:15, 08/13/2015 04:45-9:30, 13:45-14:00, 08/14/2015 03:30-23:45, 08/15/2015 00:00, 2:15, 3:15, 3:45-12:15, 13:15, 13:45-18:30, 19:00-23:45, 08/16/2015 00:00-2:15, 3:00-15:15, 16:30-17:30, 20:00-21:15, 22:15-23:45, 08/17/2015 00:00, 4:15-12:30, 13:00-15, 17:30-19:30, 20:15-23:45, 8/18/2015 00:00-1:15, 3:45-4:00, 4:30-5:00, 11:00-15:45 Hypoxic DO Events
* 08/19/2015 14:15, 08/20/2015 01:30, 8:00, 08/21/2015 00:45-2:30, 7:45-8:45, 16:00-30, 20:00-45, 08/22/2015 01:30-2:45, 3:15-45, 7:00-23:45, 08/23/2015 00:00-15:30, 16:15-23:45, 08/24/2015 00:00-23:45, 08/25/2015 00:00-13:30, 14:15-15:45, 18:30-20:45, 08/26/2015 03:45-7:45, 8:45, 08/27/2015 09:00-15, 08/28/2015 21:15-22:30, 08/29/2015 09:00-30, 15:00-23:45, 08/30/2015 04:15-11:30, 14:45-16:15, 21:00-23:30, 08/31/2015 05:15-6:45, 8:00-11:45, 20:30-21:15, 22:00-15, 09/01/2015 06:15-7:15, 8:30-11:30, 18:45-19:45, 20:15, 21:30-22:30, 09/02/2015 03:45-5:15, 5:45-6:45, 9:00-13:30, 22:45-23:45, 09/03/2015 00:00-45, 09/04/2015 01:45-2:15, 6:30-8:30, 15:45-16:30, 09/05/2015 02:00-3:45, 7:30-9:15, 09/06/2015 02:00-3:45, 8:30-12:30, 23:00, 09/07/2015 01:30-5:30, 8:15-18:00, 19:30, 20:00-45, 23:45, 09/08/2015 00:00-13:00, 13:30, 19:45-21:30, 22:00-23:00, 09/09/2015 12:15-13:00

09/10/2015 04:30, 9:30, 10:15-30, 11:45, 12:15-13:30, 09/11/2015 09:30-10:15, 09/12/2015 03:45-4:15, 09/13/2015 20:30, 09/14/2015 11:15-11:30, 18:45-19:45, 09/16/2015 05:15-6:30, 17:45-22:15, 23:30-45, 09/17/2015 00:00-15, 2:45-4:45, 5:45-8:30, 10:00-45, 11:15, 22:30-23:45, 09/18/2015 00:00, 6:15-13:00, 19:15-23:45, 09/19/2015 00:00-1:30, 6:00-14:00, 09/20/2015 00:45, 1:15-2:00, 7:30-11:00, 14:45-16:00, 20:00, 09/21/2015 00:30-1:45, 2:15-5:30, 6:15-17:45, 20:00, 20:45-22:30, 09/22/2015 00:15-5:45, 6:30, 7:00-15, 10:45-18:00, 09/23/2015 02:00-45, 3:30-8:30, 11:00-17:45, 18:45-19:00, 09/24/2015 02:00, 3:45-4:15, 5:15-45, 11:45-17:45, 18:45-19:15, 09/25/2015 02:30, 03:15-30, 4:15-8:15, 09/26/2015 03:00, 8:30, 09/27/2015 03:00-4:30, 8:30-9:30, 16:00, 16:45-17:15, 09/28/2015 04:15-5:30, 10:00, 10:30-45, 22:45, 09/29/2015 05:00-15, 10:00-12:15, 23:30-45, 09/30/2015 00:00-1:45, 12:45-13:00, 10/01/2015 00:00-30, 1:45, 3:30-4:15, 4:45-6:00, 10/02/2015 06:15-45, 10/03/2015 06:15-7:45, 22:15-23:15, 10/04/2015 07:30, 10/05/2015 02:15-4:00, 5:00-10:00 10/07/2015 02:15, 4:00-7:00, 12:30-45, 10/08/2015 01:30-4:30, 5:45, 6:30-7:00, 7:45, 10/09/2015 04:15-5:00, 10/10/2015 02:15-30, 6:45, 7:45, 14:15-45, 19:45-20:30, 22:45, 23:30, 10/11/2015 02:45-10:45, 15:15-30, 19:15-30, 21:00, 10/12/2015 01:15, 1:45-2:30, 3:15-6:30, 7:30-9:30, 22:30, 23:00-45, 10/13/2015 00:00-1:45, 2:30-3:15, 10/14/2015 23:45, 10/15/2015 00:00, 10/16/2015 00:15, 10/21/2015 00:45-4:15, 10/22/2015 01:15-30, 12:00-14:30, 17:00-45, 10/23/2015 01:45-2:00, 13:00, 10/27/2015 11:15-12:00, 10/30/2015 03:45, 11/01/2015 02:45-3:00, 11/02/2015 05:30, 11/03/2015 22:15, 23:15, 11/04/2015 01:45, 3:45-8:00, 9:45, 10:15-45, 17:45, 11/05/2015 16:15-17:00, 11/06/2015 04:45-7:15, 15:30-16:00, 11/09/2015 03:15-4:00, 11/10/2015 03:00-8:45, 16:15-17:15, 18:00-21:45, 11/11/2015 09:30-10:00, 16:45, 19:45-23:00, 23:30-45, 11/12/2015 00:00-23:45, 11/13/2015 00:00-13:15, 19:30-20:00, 11/14/2015 00:30-1:30 Hypoxic DO Events

* From 9/6 2:00 to 9/9 9:30 DO and pH data are marked 1 GSM CBF. Algae fouling on the sonde affected those parameters during this time.
* 09/27/2015 13:15 Suspect Turbidity Spike >150 NTU
* 09/17/2015 16:00-15 Suspect DO >120%
* 10/14/2015 15:15, 11/16/2015 18:15 Suspect DO values >120%
* 10/19/2015 21:30 Suspect Turbidity Spikes >150 NTU
* 11/01/2015 12:30 Suspect Turbidity Spikes
* 11/02/2015 19:30-11/03/2015 08:45 Suspect DO sensor drift
* 11/19/2015 11:30-12:30, 13:15-16:45, 17:15, 17:45-18:15, 19:00-45, 20:15, 20:45-23:45, 11/20/2015 00:00-15, 00:45-13:45, 14:30-16:45, 18:45, 20:00, 20:30-21:00, 22:15-23:45, 11/21/2015 00:00-8:45, 9:15-23:45, 11/22/2015 00:00-9:45, 16:15, 17:45-23:45, 11/23/2015 00:00-10:30, 20:15, 11/24/2015 03:45, 5:00-15, 5:45-6:30, 7:00, 7:30, 8:00, 10:00-15, 11/30/2015 13:15-14:30, 12/01/2015 00:00-3:30, 14:15-15:00, 12/02/2015 01:30-02:00, 06:15-07:15, 14:15-23:45, 12/03/2015 00:00-4:15, 11:00-45, 12:15-45, 13:45, 12/04/2015 15:00, 21:15-22:00, 22:30-23:00, 12/05/2015 03:15-30, 4:30-5:30, 6:00-15, 12/11/2015 23:00-15, 12/17/2015 01:00-3:00, 3:30, 4:00-45, 8:15 Hypoxic DO Events
* 12/11/2015 01:30 Reject Out Of Range Turbidity Spike
* 12/23/2015 11:00-12/31/2015 23:45 Significant weather event, river flooded

**East Surface**

* Turbidity spikes due to rain, river discharge, and/ or wind resuspension
* 01/01/2015 00:00 -01/06/2015 Suspect depth disjoint in values cause unknown.
* 01/26/2015 9:45 to 19:30 and 01/26/2015 21:00 to 01/29/2015 8:15 Low salinity values correspond with small increases in turbidity
* 02/19/2015 9:00-30 Suspect Turbidity spikes >150 NTU
* 03/14/2015 10:00 Hypoxic DO Event
* 03/03/2015 12:30-45, 14:00-15, 15:00, 16:45, 17:15-23:45, 3/4 00:00-2:15, 4:30-45, 5:45-7:00, 14:15-15:00, 15:30-18:00, 19:00-15 Suspect DO >120%
* 02/24/2015 11:00-03/17/2015 10:30 Suspect DO, wiper torn off and at bottom of the guard
* 04/02/2015 22:30, 04/06/2015 6:30-45 Hypoxic DO Events

04/02/2015 22:30, 04/06/2015 06:30-45, 04/07/2015 00:45, 2:00, 7:15-8:00, 14:15, 04/08/2015 08:00-9:00, 11:30-45, 04/09/2015 02:00-15, 8:45, 9:15, 12:15-30, 18:00, 04/10/2015 09:45, 04/11/2015 16:00-30, 04/12/2015 04:45, 04/13/2015 13:15 Hypoxic DO Events

* 04/05/2015 04:00, 7:45, 12:30, 14:15, 15:00, 18:45, 23:30-45, 04/06/2015 04:15, 5:30, 6:00, 04/30/2015 15:45, 05/02/2015 07:00, 13:45, 14:30, 15:15, 05/03/2015 05:00, 6:45, 14:45, 05/04/2015 13:15, 13:45, 05/05/2015 00:45-1:00, 5:15, 16:00, 20:00, 05/06/2015 01:00, 2:15, 3:15, 6:45, 7:30, 8:30, 9:30, 11:00, 13:15, 13:45, 16:0005/07/2015 02:45, 3:15, 16:15, 05/08/2015 00:30, 05/09/2015 08:15, 8:45, 13:00, 14:45, 05/10/2015 07:30, 10:45, 06/09/2015 13:45 Suspect Turbidity spikes
* 05/12/2015 05:45, 05/17/2015 09:30-10:00, 11:00-30, 14:00, 14:45, 05/18/2015 07:00-8:00, 8:30-9:00, 11:15-12:45, 15:15-30, 16:00-15, 05/19/2015 06:30
* 05/20/2015 07:45-8:00, 05/25/2015 05:45-6:30, 7:00-30, 8:15-9:00, 10:00-11:15, 11:45-12:15, 13:15-15:45, 16:15-18:45, 05/26/2015 03:45, 5:30-7:30, 8:00-45, 9:15-10:45
* 05/27/2015 10:30-14:00, 14:30, 23:45, 05/28/2015 00:00, 1:45-6:00, 6:30-7:30, 8:30, 9:15-14:15, 05/29/2015 03:30-4:00, 4:30-5:15, 5:45-12:15, 12:45-14:45, 16:15, 17:00-45, 19:00-30, 20:15-21:15, 05/30/2015 00:45, 1:30, 2:15-11:15, 11:45-14:45, 15:15, 05/31/2015 02:45-3:00, 4:00-4:45, 5:45-6:45, 7:15-9:15, 9:45-15:30, 06/01/2015 04:15, 4:45-5:15, 7:00-10:00, 10:30-13:15, 14:15-15:30, 06/02/2015 03:30, 4:00-7:30, 9:00-10:00, 13:00-15:45, 22:15-45, 23:15-45, 06/03/2015 06:00-11:45, 06/04/2015 00:15, 6:45, 8:45-11:30, 06/05/2015 01:00-30, 5:30-6:15, 7:45-8:00, 10:15-11:00, 11:30, 12:30-45, 06/06/2015 00:45-2:30, 6:15-7:00, 8:15-9:30, 11:00-13:45, 14:15-15:30, 16:00, 17:45-18:30, 06/07/2015 01:45-2:45, 4:45-5:15, 8:30, 9:15-45, 11:00-15, 11:45-12:30, 13:30, 18:15-45, 06/08/2015 01:45-3:30, 5:30, 8:30, 9:00-10:45, 06/09/2015 03:30-4:00, 9:30-10:00, 10:45, 15:30-17:15, 18:15-30, 19:00, 22:00-15, 06/10/2015 10:15-11:00 Hypoxic DO Event
* 05/12/2015 8:15-06/10/2015 12:15 Suspect pH sensor drift
* 06/24/2015 7:00-12:00 Suspect Salinity
* 06/22/2015 8:30-10:30 Suspect All Data, Cleaning Tube
* 06/20/2015 17:45, 06/25/2015 22:15, 06/26/2015 10:45 Suspect Turbidity Values >150 NTU
* 06/12/2015 20:45, 06/13/2015 07:00-30, 06/14/2015 03:30, 5:45-6:00, 22:15-30, 06/15/2015 05:45, 23:00-15, 06/16/2015 04:45, 6:30, 10:15, 10:45, 13:15, 06/17/2015 00:00-15, 6:45-7:00, 7:45-8:45, 9:30, 06/18/2015 00:15, 5:30, 7:00-45, 10:15-11:00, 06/19/2015 00:30-1:00, 6:15-45, 7:15, 8:00-15, 10:15, 06/20/2015 08:15, 12:00-15, 06/21/2015 03:00-15, 3:45-4:00, 5:15-30, 6:15, 8:30-9:00, 16:00, 17:00-30, 19:15, 06/22/2015 02:00-45, 3:45-4:30, 5:30, 6:00, 18:45, 20:30, 06/23/2015 02:30-45, 8:45, 9:45-10:45, 17:00-15, 20:45-21:30, 06/24/2015 01:45, 3:30-4:15, 4:45-5:00, 11:30-12:00, 06/26/2015 00:15 Hypoxic DO Events
* 07/01/2015 Suspect DO Values >120%
* 07/02/2015 11:45, 07/05/2015 12:15-30 Suspect Turbidity Spikes >150 NTU
* 07/04/2015 07:30, 07/05/2015 01:15-30, 6:00-15, 6:45-7:30, 8:00-9:00, 14:45, 17:45-18:15, 18:45-19:00, 07/06/2015 02:15, 7:15, 8:15-30, 9:00, 19:00-45, 07/07/2015 02:15-3:15, 7:30-9:00, 20:00-30, 07/08/2015 02:15-4:00, 4:30, 515-30, 8:15-9:30, 16:45-17:00, 21:30-22:00, 22:30, 07/09/2015 02:45-5:15, 6:45-11:15, 07/10/2015 01:00, 3:45-4:45, 5:45-11:00, 07/11/2015 01:00-15, 1:45-2:00, 2:30-3:00, 3:30, 4:45, 5:15-7:30, 9:15-30, 12:00-30, 20:45, 23:45, 07/12/2015 01:45-3:45, 6:30-45, 7:45-8:15, 10:45, 11:45-13:15, 20:45-21:00, 23:45, 07/13/2015 01:30-10:30, 07/14/2015 08:00-45, 10:00-30, 07/16/2015 23:15-45, 07/17/2015 00:00-15, 4:45-5:15, 4:45-7:30, 10:15-11:45, 16:00, 07/18/2015 00:00-45, 6:00-7:15, 8:45-14:00, 16:30-45, 17:15, 18:00-15, 07/19/2015 06:00-15, 6:45-10:00, 10:45-12:45, 07/20/2015 01:00-15, 5:15, 5:45-6:00, 6:45-10:00, 10:45-11:00, 07/21/2015 03:00, 3:30, 6:15-7:15, 7:45, 8:30 Hypoxic DO Events
* 07/22/2015 03:15, 7:45-8:15, 07/23/2015 00:45-1:15, 8:45-9:45, 21:00-45, 22:15-23:45, 07/24/2015 00:00, 00:30-4:00, 16:30, 18:00-45, 21:45-22:00, 22:45-23:30, 07/25/2015 01:15-30, 6:30, 10:00-30, 11:00-30, 12:15-15:00, 16:00-30, 17:00-30, 18:00-19:45, 22:45-23:45, 07/26/2015 00:00-13:00, 13:45-17:00, 17:45-18:00, 23:15-45, 07/27/2015 00:15-7:15, 11:15, 12:30-14:45, 18:30-20:00, 07/28/2015 00:15-4:00, 5:00-9:00, 11:15-14:00, 07/29/2015 04:15-30, 5:00-10:45, 14:00-15, 21:30-22:15, 07/30/2015 01:45, 4:30-10:45, 13:15-14:00, 07/31/2015 04:00-15, 5:15-8:45, 11:00, 15:30-45, 08/01/2015 00:00, 5:00-7:00, 8:45-11:00, 12:15-45, 08/02/2015 00:15-45, 6:00-8:00, 9:45-10:15, 11:00, 11:30, 08/03/2015 00:30, 5:30-6:45, 9:30-12:15, 08/04/2015 01:30 Hypoxic DO Events
* 08/03/2015 16:00-17:00, 17:30, 20:30, 22:15, 23:15, 23:45, 08/04/2015 00:15, 1:45, 6:45 Suspect Turbidity Values >150 NTU
* 08/04/2015 8:30-08/18/2015 09:45 Suspect all Turbidity Values wiper malfunction
* 08/04/2015 8:30 -08/18/2015 9:45 Suspect DO sensor drift
* 08/19/2015 00:00, 08/19/2015 00:30, 08/20/2015 01:00-30, 6:45-8:00, 14:45, 08/21/2015 00:30-2:15, 7:30-8:30, 15:00-45, 20:45-21:45, 08/22/2015 00:45-2:00, 3:15, 7:30-9:30, 23:00-30, 08/23/2015 06:15-7:00, 10:15-30, 17:15-30, 08/24/2015 02:15, 2:45, 4:30-45, 6:00-30, 11:00-12:30, 15:15, 18:30-19:00, 21:00, 08/25/2015 05:45-6:15, 7:00-15, 11:00, 08/26/2015 02:30, 4:45-5:30, 12:15, 08/27/2015 04:15, 08/30/2015 05:00-15, 5:45, 9:30, 10:00, 16:00, 08/31/2015 05:45-6:15, 09/01/2015 18:30-19:00, 19:30-45, 09/02/2015 06:00-15, 09/05/2015 02:45, 09/06/2015 22:45, 09/07/2015 01:15-2:15, 10:15, 11:00-30, 12:005 Hypoxic DO Events
* 08/18/2015 18:30, 08/26/2015 17:00-18:00, 08/30/2015 19:00-20:30, 08/31/2015 13:45 Suspect DO Values >120%
* 08/18/2015 10:00-09/09/2015 9:30 Suspect Turbidity Values wiper torn, thick algae ring around probe face
* 09/04/2015 13:00 Suspect Turbidity Values >150 NTU
* 09/08/2015 00:00-09/09/2015 9:30 Suspect DO Values sensor drift
* 09/09/2015 9:45-10/06/2015 7:45 Suspect DO Values wiper fell off during deployment
* 09/17/2015, 09/25/2015, 09/29/2015 Suspect DO >120%
* 10/05/2015 4:15 Suspect Turbidity Spike >150 NTU
* pH data during the 10/6 deployment is marked -3 SSM CSM. This same probe was used during the 12/15 deployment and showed similar patterns. Data was erratic and did not match up well with deployments around it.
* 10/07/2015 07:00, 12:00-30, 10/09/2015 04:45, 14:45-16:30, 10/10/2015 02:30, 8:30-45, 10/11/2015 02:30-45, 3:15-30, 4:15, 5:00-15, 10:15-30, 10/12/2015 03:45-6:00, 6:30, 8:00, 10/15/2015 04:30, 23:30-45, 10/16/2015 00:15-45, 23:00-45, 10/17/2015 00:00, 00:45-2:15, 5:15-30, 10/21/2015 12:15, 23:45, 10/22/2015 00:00-15, 00:45-4:30, 11:00, 11:30-45, 13:45-14:15, 10/23/2015 01:30-45, 12:45-13:30, 10/24/2015 02:00-45, 10/31/2015 00:45-1:45, 6:00Hypoxic DO Events
* 10/24/2015 15:45, 21:45, 10/27/2015 6:00 Suspect Turbidity Spikes >150NTU
* From 10/31/2015 15:30 to 11/2/2015 23:45 DO data is marked 1 SPC CSM, from 11/03/2015 00:00-08:45 DO is marked -3 SSM CSM. The post was out of range and there was moderate fouling from algae affecting data.
* 11/03/2015 00:00-08:45 Suspect pH sensor drift
* 11/04/2015 05:00, 7:45-8:00, 11/05/2015 06:15-30, 11:15-12:00, 13:15-14:15, 14:45-15:00, 11/06/2015 04:30-6:00, 13:00, 11/11/2015 16:00, 20:45-21:00, 21:30-22:00, 11/12/2015 01:00-2:45, 3:45-4:15, 4:45-5:45, 6:15-8:15, 9:30-12:30, 20:30, 11/13/2015 05:15-7:45, 8:15, 11/20/2015 03:45, 4:15-19:15, 20:15-21:15, 22:00-23:45, 11/21/2015 00:00-23:30, 11/22/2015 00:00-7:30, 11/23/2015 01:15-2:45, 3:15-30, 4:45-5:00, 11/30/2015 00:30-1:30, 12/01/2015 01:15, 6:45-7:30, 12/02/2015 04:00-15, 4:45, 5:15-45, 6:45-7:00, 19:00, 19:45, 22:00, 23:15-45, 12/03/2015 00:00, 00:30, 1:45-2:45, 3:15-5:45, 6:30-7:00, 9:45-10:00, 10:45-12:00, 13:45, 14:15-16:00, 12/06/2015 22:30-23:30, 12/07/2015 01:00-3:15, 12/08/2015 21:00-30, 23:30-45, 12/09/2015 00:15, 1:45-2:15, 12/11/2015 22:00-23:45, 12/12/2015 00:00-30, 22:45-23:15, 23:45, 12/13/2015 00:00, 23:00-45, 12/14/2015 00:00-15, 23:45, 12/15/2015 00:00-1:30, 2:15-3:30, 6:00-45Hypoxic DO Events
* 11/28/2015 00:00-12/15/2015 9:00 Suspect Turbidity Wiper pad lost
* 12/15/2015 9:15-12/31/2015 23:45 Suspect Turbidity Wiper pad lost
* 12/15/2015 9:15 -12/31/2015 23:45 Suspect DO data Turbidity probe failure
* 12/15/2015 07:00-09:00 Suspect DO disjointed
* 12/15/2015 09:15-12/31/2015 32:45 Reject pH OOR post calibration
* 12/30/2015 20:45-12/31/2015 23:45 Significant weather event, river flooded

**Weather and River information**

* 01/01/2015-01/06/2015 Rained 01/05/201501/05/2015 2-2.5”
  + 01/05/2015 2-2.5”
* Apalachicola River discharge decreased from 34000 ft3/sec on 12/34/2014 to 31000 ft3/sec on 01/06/2015
* Discharge was above 36 year Median Daily Discharge (MDD)
* 01/06/2015-01/21/2015 Rained 01/12/2015-01/13/2015; 01/16/2015; 01/201/2015
* Apalachicola River discharge decreased from 32000 ft3/sec on 01/06/2015 to 31000 ft3/sec on 01/08/2015; increased to 35000 ft3/sec on 01/12/2015 before falling to 23000 ft3/sec on 01/21/2015
* Discharge fell below 36 year Median Daily Discharge (MDD) on 1/18/2015 @ 25000 ft3/sec and stayed below it for the rest of the deployment
* 01/21/2015-02/04/2015 Rained 01/21/2015; 01/23/2015-01/24/2015; 01/26/2015; 01/30/2015; 02/04/2015
  + 01/23/2015 3.14”, 01/24/2015 4-5”, 02/04/2015 ~2.04”
* Apalachicola River discharge dropped from 23000 ft3/sec on 01/21/2015 to 20100 ft3/sec on 01/23/2015; rapidly increased to 23900 ft3/sec on 01/23/2015 then slowly increased to 30000 ft3/sec on 01/30/2015; decreased to 25000 ft3/sec on 02/04/2015
* Discharge surpassed the 36 yr MDD on 01/28/2015 @ 27500 ft3/sec; fell below 36 yr MDD on 02/03/2015
* 02/04/2015-02/24/2015 Rained 02/04/2015-02/05/2015; 02/09/2015; 02/10/2015; 02/17/2015-02/18/2015; 02/22/2015-02/24/2015
  + 02/05/2015 2.4”
* Discharge dropped to 25000 ft3/sec on 02/04/2015; increased sharply to 26000 ft3/sec on 02/05/2015; fell to 22500 ft3/sec on 02/16/2015; increased to 23000 ft3/sec on 02/17/2015; fell to 20000 ft3/sec on 02/21/2015; and then increased to 22000 ft3/sec on 02/24/2015
* 36 yr MDD rose while discharge fell over the course of the deployment
* 02/24/2015-03/17/2015 Rained 02/24/2015-02/26/2015; 03/01/2015; 03/06/2015; 03/12/2015-03/14/2015
  + 02/26/2015 2-2.5”, 03/14/2015 1-2”
* Discharge increased from 22000 ft3/sec on 02/24/2015 to 35000 ft3/sec on 03/05/2015 before slowly declining to 26200 ft3/sec on03/17/2015
* Discharge rose to equal 36 yr MDD on 03/5/2015 before falling back below it
* 03/17/2015-04/06/2015 Rained 03/22/2015-03/24/2015; 03/27/2015-03/28/2015;03/31/2015; 04/03/2015; 04/05/2015; 04/07/2015
  + 03/27/2015 2-2.5”
* Discharge dropped from 26200 ft3/sec on 03/17/2015 to 24000 ft3/sec on 03/21/2015, then it increased to 25300 ft3/sec on 03/25/2015 before decreasing to 22000 ft3/sec on 04/06/2015
* Discharge was below the 36 yr MDD for the entire deployment
* 04/06/2015-04/21/2015 Rained 04/08/2015, 04/12/2015-04/21/2015
  + 04/12/2015 ~ 3-4”; 04/16/2015 ~ 1.5-2”; 04/17/2015 ~ 3-4”; 04/18/2015 ~ 2-2.5”; 04/20/2015 ~ 2-2.5”
* Apalachicola River discharge was roughly constant at 22000 ft3/sec from 04/06/2015 to 04/15/2015; then increased to 32000 ft3/sec on 04/21/2015
* Discharge surpassed 36 year Median Daily Discharge (MDD) on 04/19/2015 and was about 5000 ft3/sec above it by 04/21/2015
* 04/21/2015-05/12/2015 Rained 04/21/2015, 04/23/2015-04/30/2015, 05/07/2015, 05/11/2015
  + 04/24/2015 ~ 1-1.5”, 04/26/2015 ~ 1.5-2”
* Discharge increased to 42000 ft3/sec on 04/26/2015, then slowly decreased to 26000 ft3/sec on 05/02/2015
* Discharge was always above the 36 yr MDD
* 05/12/2015-06/11/2015 Rained 05/13/2015-05/16/2015, 05/18/2015-05/22/2015, 05/25/2015-05/29/2015, 06/01/2015-06/11/2015
  + 05827/2015 ~ 3-5”, 06/01/2015 ~ 2-2.5”, 06/10/2015 ~ 4-5”
* Discharge decreased from 26000 ft3/sec on 05/12/2015 to 15500 ft3/sec on 05/26/2015, then increased to 24000 ft3/sec on 06/11/2015
* Discharge fell below 36 yr MDD on 05/15/2015, then surpassed it on 05/28/2015
* 06/11/2015-07/01/2015 Rained 06/11/2015-06/13/2015, 06/16/2015-07/01/2015
  + 06/18/2015 ~ 1-1.5”, 06/22/2015 ~ 2-2.5”, 06/24/2015 ~ 1-1.5”, 06/28/2015 ~ 1-1.5”, 06/29/2015 ~ 2.5-5”, 06/30/2015 ~ 1-1.5”, 07/01/2015 ~ 1.5-2”
* Discharge decreased from 24000 ft3/sec on 06/11/2015 to 10500 ft3/sec on 07/01/2015
* Discharge fell below 36 yr MDD on 06/19/2015 at 16900 ft3/sec and was 4000 ft3/sec below the 36 yr MDD on 07/01/2015
* 06/30/2015-07/21/2015 Rained 06/30/2015-07/21/2015
  + 07/01/2015 ~ 105-2”, 07/06/2015 ~ 2-2.5”, 07/09/2015 ~ 2”, 07/14/2015 ~ 2”, 07/16/2015 ~ 3-4”, 07/17/2015 ~ 6-8”, 07/20/2015 ~ 1.5-2”
* Apalachicola River discharge increased from 10100 ft3/sec on 06/30/2015 to 16400 ft3/sec on 07/10/2015, then decreased to 1400 ft3/sec early on 07/16/2015 before increasing to 16000 ft3/sec later on 07/16/2015, it then decreased to 11000 ft3/sec on 07/21/2015
* Discharge was below the 37 year Median Daily Discharge (MDD) until 07/09/2015 when they were roughly equal, on 07/17/2015 the discharge dropped back below the 37 yr MDD
* 07/21/2015-08/04/2015 Rained 07/21/2015-08/04/2015
  + 08/03/2015 ~ 2-3”
* Discharge fell to ~ 9600 ft3/sec on 07/26/2015, increased to 13100 ft3/sec on 08/02/2015, then decreased to 11100 ft3/sec on 08/04/2015
* Discharge was below the 37 yr MDD for the entire deployment
* 08/04/2015-08/18/2015 Rained 08/04/2015-08/18/2015
  + 08/05/2015 ~ 2.5-3”, 08/09/2015 ~ 2-2.5”, 08/11/2015 ~ 1.5-2”, 08/17/2015 ~ 1.5-2”, 08/18/2015 ~ 1.5-2”,
* Discharge fell to 9100 ft3/sec on 08/09/2015, then increased, with large fluctuations (>=800 ft3/sec) from 08/09/2015-08/12/2015, to 10500 ft3/sec on 08/18/2015
* Discharge was below 37 yr MDD for the entire deployment
* 08/18/2015-09/09/2015 Rained 08/18/2015-08/26/2015, 08/28/2015-08/30/2015, 09/01/2015-09/09/2015
  + 08/19/2015 ~ 3-4”, 08/20/2015 ~ 1-1.5”, 08/21/2015 ~ 1.5-2”, 08/22/2015 ~ 1-1.5”, 08/26/2015 ~ 1.5-2”, 08/29/2015 ~2.5-3”, 08/30/2015~ 1.5-2”, 09/04/2015 ~ 1.5-2”, 09/05/2015 ~ 1.5-2”, 09/06/2015 ~1.5-2”, 09/09/2015 ~ 2-2.5”
* Discharge decreased to 10000 ft3/sec on 08/22/2015, increased to 12600 ft3/sec on 08/28/2015, then decreased to 10000 ft3/sec on 09/09/2015
* Discharge was about equal to the 37 yr MDD on 08/29/2015, before and afterwards it was below it
* 09/09/2015-10/06/2015 Rained 9/10/2015-9/13/2015, 9/17/2015-9/19/2015, 9/22/2015-9/25/2015, 9/27/2015-10/3/2015
  + 9/12/2015 ~ 1.5-2”, 9/13/2015 ~ 1.5-2.5”
* River Discharge decreased to 9200 ft3/sec on 9/12/2015, increased to 10800 ft3/sec on 9/13/2015, decreased to 9500 ft3/sec on 9/14/2015, increased to 11500 ft3/sec on 9/19/2015, decreased to 10000 ft3/sec on 9/26/2015, increased to 11200 ft3/sec on 9/29/2015, fell to 9900 ft3/sec on 10/01/2015, rose to 15800 ft3/sec on 10/06/2015
* Discharge was below the 37 yr MDD until 10/03/2015
* 10/06/2015-11/03/2015 Rained 10/10/2015, 10/14/2015, 10/27/2015 -10/30/2015, 11/01/2015 -11/03/2015
  + 10/27/2015 ~ 1-1.5”, 11/02/2015 ~ 1.5-2.5”, 11/3/2015 ~ 1.5-2”
* Apalachicola River discharge was 15800 ft3/sec on 10/06/2015 and increased to 17500 ft3/sec on 10/10/2015, fell to 10000 ft3/sec on 10/23/2015, increased to 12400 ft3/sec on 10/27/2015, fell to 9200 ft3/sec on 10/30/2015, increased to 9900 ft3/sec on 11/06/2015
* Discharge was above the 38 year Median Daily Discharge (MDD) from 10/06/2015-10/16/2015 and again from 10/26/2015-10/28/2015
* Rained 11/03/2015-11/06/2015, 11/08/2015-11/10/2015, 11/19/2015-11/20/2015, 11/22/2015-11/13/2015, 12/02/2015-12/04/2015, 12/15/2015
  + 11/03/2015 ~ 1.5-2”, 11/05/2015 ~ 5-6”, 11/08/2015 ~1.5-2”, 11/19/2015 ~ 4-5”
* River discharge increased from 9900 ft3/sec on 11/6/2015 to 34000 ft3/sec on 11/16/2015, then fell to 18000 ft3/sec on 12/15/2015
* Discharge was above the 38 yr MDD from 11/05/2015-12/15/2015. On 11/16/2015 it was about 22000 ft3/sec above the 38 yr MDD.
* Rained 12/15/2015, 12/17/2015-12/18/2015, 12/22/2015-12/24/2015, 12/29/2015-01/04/2016, 01/08/2016, 01/10/2016
  + 12/17/2015 ~ 1.5-2”, 12/22/2015 ~ 1.5-2”, 12/29/2015 ~ 2-2.5”, 01/01/2016 ~ 2.5-3” 01/08/2016 ~ 1.5-2”
* River Discharge fell to 17000 ft3/sec on 12/18/2015, increased to 107000 ft3/sec on 01/01/2016, fell to 106000 ft3/sec on 01/06/2016, then continues to fall to 14500 ft3/sec on 01/14/2016